## Sheet1
Date of commissioning of Power Stations
SI.No. | Name of Station | Unit | MW | Commissioned on
A | Thermal
|  | I | 15 | 14.03.1953
1 | Basin Bridge (90 MW) | II | 15 | 1955-12-01
| (Dismantled) | III | 30 | 26.04.1958
|  | IV | 30 | 29.06.1969
|  | 1 | 60 | 31.03.1970
2 | Ennore TPS (450 MW) (Under permanent shutdown) | II III | 60 110 | 14.02.1971 17.05.1972
|  | IV | 110 | 26.05.1973
|  | V | 110 | 1975-02-12
|  | I | 210 | 1979-09-07
3 | Tuticorin TPS (1050 MW) | II III | 210 210 | 17.12.1980 16.04.1982
|  | IV | 210 | 1992-11-02
|  | V | 210 | 31.03.1991
|  | 1 | 210 | 1987-07-01
4 | Mettur TPS -I (840 MW) | II | 210 | 1987-01-12
|  | III | 210 | 22.03.1989
|  | IV | 210 | 27.03.1990
1 |  | I | 210 | 25.10.1994
| North Chennai TPS-I (630 MW) | II | 210 | 27.03.1995
|  | III | 210 | 24.02.1996
6 | Mettur TPS-II (600 MW) | I | 600 | 2013-12-10
7 | North Chennai TPS-II (1200 MW) | I | 600 20.03.2014
|  | II | 600 | 2014-08-05
|  | I | 500 | 29.11.2012
8 | TNEB-NTPC Joint Venture Project at Vallur | II | 500 | 25.08.2013
|  | III | 500 | 26.02.2015
|  | I | 50 | 25.05.1962
|  | II | 50 | 23.01.1963
|  | III | 50 | 1963-11-06
| i. Neyveli Thermal Station-I (600 MW) | Iv | 50 | 27.10.1963
| ( Unit VII — under permanent shutdown) | V | 50 | 25.04.1964
|  | VI | 50 | 24.08.1965
|  | VII | 100 | 28.03.1967
|  | VIII | 100 | 1969-12-02
|  | IX | 100 | 21.02.1970
9 |  | 1..4 11:1 1;z1 > > 5 10 1..4 l'I | 210 | 29.03.1986
|  |  | 210 | 1987-06-02
| ii.Neyveli Thermal Station-II (Stage-I)(630 MW) |  | 210 | 17.01.1988
| iii.Neyveli Thermal Station-II (Stage-II)(840 MW) |  | 210 | 30.03.1991
|  |  | 210 | 13.01.1992
|  |  | 210 | 30.10.1992
|  |  | 210 | 18.06.1993
Date of commissioning of Power Stations (Contd..)
SI-No. | Name of Station | Unit | MIN | Comm issioned on
| iv.Neyveli Thermal Station-I (Expansion) (420 MW | 1 | 210 | 2003-06-05
|  | II | 210 | 2003-05-09
| v.Neyveli TPS 2-Expansion (2x250 MW) | I | 250 | 2015-05-07
|  | II | 250 | 22.04.2015
10 | TANGEDCO - NLC 3V Tuticorin (2x500 MW) | I | 500 18.06.2015
|  | II | 500 | 29.08.2015
|  | 1 | I 200 | 1984-01-03
|  | II | 200 | 01.11-.1984
|  | III | 200 | 1985-01-05
11 | Ramagundam STPS (2600 MW) | IV | 500 | 1988-01-11
|  | V | 500 | 1989-01-09
|  | VI | 500 | 1991-01-04
|  | VII | 500 | 25.03.2005
|  | I | 500 | 2003-01-08
12 | Talcher Super Thermal Station (2000 MW) | II | 500 | 2004-01-03
|  | III | 500 | 2005-01-11
|  | IV | 500 | 2005-01-08
l
13 | Simhadri (1000 MW ) | I | 500 | 16.09.2011
|  | II | 500 | 30.09.2012
|  | I | 800 | 31.07.2017
14 | Kudgi STPS (2400 MW) | II | 800 | 31.12.2017
|  | III | 800 | 15.09.2018
B | Nuclear
1 | Madras Atomic Power Station (Kalpakkam) (440 MW) | I II | 220 220 | 23.07.1983 20.09.1985
|  | I | 220 | 16.11.2000
2 | Kaiga Atomic Power Station (880 MW) | II | 220 16.03.2000
|  | III | 220 | 2007-06-05
|  | IV | 220 | 20.01.2011
3 | Kudankulam Atomic Power Station | I | 1000 | 31.12.2014
|  | II | 1000 | 31.03.2017
C | Hydro
|  | I | 7 | 1933-09-06
| Pykara (59.2 MW) | II | 7 | 22.11.1932
1 | (One unit of 11 MW Capacity dismantled on | III | 7 | 1932-05-09
| 19.05.2002) | V | 11 | 28.08.1939
|  | VI | 13.6 | 30.05.1954
|  | VII | 13.6 | 1954-11-06
|  | 1 | 12 | 1952-10-04
2 | Moyar (36 MW) | II | 12 | 19.09.1952
|  | III | 12 | 1953-06-01
|  | I | 20 | 26.03.1960
3 | Kundah-I (60 MW) | II | 20 | 21.07.1960
[ |  | III | 20 | 30.03.1964
6
Date of commissioning of Power Stations (Contd..)
SI.No. | Nama of Station | Unit | MW | Commissioned on
|  | I | 35 | 31.10.1960
|  | II | 35 | 19.01.1961
4 | Kundah-II (175 MW) | III | 35 | 27.03.1961
|  | IV | 35 | 1961-05-06
|  | V | 35 | 23.02.1964
|  | I | 60 | 1965-07-04
5. | Kundah-III (180 MW) | II | 60 | 28.02.1966
|  | III | 60 | 1978-08-02
6. | Kundah-IV (100 MW) | I II | 50 50 | 10.05.1966 09.09.1978
7. | Kundah-V (40 MW) | I 30.10.1964 | 20
|  | II | 20 | 31.03.1988
|  | I | 10/12.5 | 13.06.1937
8. | Mettur Dam (40 MW) (uprated to 50 MW) | II | 10/12.5 | 21.08.1937
|  | III | 10/12.5 | 21.01.1938
|  | IV | 10/12.5 | 28.10.1946
|  | I | 50 | 13.08.1965
9. | Mettur Tunnel (200 MW) | II | 50 | 15.07.1966
|  | III | 50 | 13.07.1966
|  | IV | 50 | 27.07.1966
|  | I | 42 | 12.10.1958,
14.07.2011 (RMU)
|  | II | 42 | 17.02.1959,
10 | Periyar (168 MW) |  |  | 11.09.2012 (RMU)
|  | III | 42 | 25.05.1959,
08.01.2014 (RMU)
|  | IV | 42 | 11.09.1965,
23.03.2016 (RMU)
|  | I | 7/8 | 1944-07-04
11. | Papanasam (28 MW) (Uprated to 32 MW) | II | 7/8 04.06.1945
|  | III | 7/8 | 1945-04-06
|  | IV | 7/8 | 1951-08-07
12. | Sarkarpathy (30 MW) | I | 30 | 1966-12-01
13. | Aliyar (60 MW) | I | 60 | 25.03.1970
|  | I | 42 | 22.04.1971
14. | Sholayar — I (77 MW) |  |  | 29.10.2018 (RMU)
|  | II | 35 | 1971-05-05
15. | Sholayar - II (25 MW) | I | 25 | 29.03.1971
16. | Kodayar — I (60 MW) | 1 | 60 | 1971-02-01
17. | Kodayar — II (40 MW) | I | 40 | 17.11.1971
18. | Surullyar (35 MW) | I | 35 | 27.08.1978
19. | Servalar (20 MW) | I | 20 | 20.03.1986
|  | I | 100 | 28.03.1987
20. | Kadamparai (400 MW) | II 30.12.1987 | 100
|  | III | 100 | 26.09.1988
|  | IV | 100 | 30.03.1988
7
Date of commissioning of Power Stations (Contd..)
SI.No. | Name of Station | Unit | MW | Commissioned on
21. | Lower Mettur Barrage 1 (30 MW) | I | 15 23.03.1988
|  | II | 15 | 26.12.1987
22. | Lower Mettur Barrage 11 (30 MW) | 1 | 15 30.03.1988
|  | II | 15 | 14.12.1987
23. | Lower Mettur Barrage III (30 MW) | 1 | 15 | 23.11.1987
|  | II | 15 | 31.03.1987
24. | Lower Mettur Barrage IV (30 MW) | I | 15 29.03.1989
|  | II | 15 | 31.10.1988
25. | Pykara Mini (2 MW) | I | 2 | 1989-07-10
26. | Vaigai Small (6 MW) | I | 3 23.02.1990
|  | II | 3 | 1990-03-03
|  | I | N (Ni N N | 31.03.1990
27. | Lower Bhavani Small (8 MW) | II |  | 31.03.1990
|  | III |  | 31.03.1990
|  | IV |  | 20.05.1990
28. | Maravankandi Mini (0.75 MW) | I | 0.75 | 14.10.1992
29. | Poonachi Mini (2 MW) | I | 1 16.12.1992
|  | II | 1 | 1992-12-11
30. | Lower Bhavani Rik (8 MW) | 1 | 4 | 1998-10-02
|  | II | 4 | 28.02.1998
31. | Sathanur (.5 MW) | I | 7.5 | 30.03.1999
32. | Kundah VI (Parsons Valley) (30 MW) | I | 30 | 29.03.2000
33. | Thirumurthy Mini (1.95 MW) | (3x0.65) | 1.95 | 20.03.2000
34. | Mukurthi Mini (0.70 MW) | (2x0.35) | 0.7 | 18.08.2000
35. | Aliyar Small (2.5 MW) | (2x1.25) | 2.5 | 23.09.2002
36. | Pykara Ultimate Stage (150 MW) | 3x50 | 150 | 2005-06-09
37. | Perunchani Mini (1.3 MW) | 2x0.65 | 1.3 | 21.12.2005/21.02.2006
38. | Amaravathi Small (4 MW) | 2x2 | 4 | 21.09.2006/30.11.2006
39. | Bhavani Kattalai Barrage I (30 MW) | 2x15 | 30 | 01.08.2006/22.09.2006
40. | Periyar --Vaigai I | I | 2 | 2010-02-11
|  | II | 2 | 25.01.2011
41. | BhavaniKattalai Barrage II | 2x15 | 30 | 29.11.2011
42. | Periyar - Vaigai II | 2x1.25 | 2.5 | 30.01.2012
43. | Bhavani Kattalai Barrage-III | 2x15 | 30 | 16.10.2013
44. | Periyar-Vaigai III | 2X2 | 4 | 10.09.13/11.10.2013
45. | Periyar -Vaigai IV | I | 1.25 | 29.02.2016
|  | II | 1.25 | 2016-01-03
46. | Bhavani Barrage I , | I | 5 | 29.05.2015
|  | II | 5 | 2015-02-07
47 | Bhavani Barrage II | I | 5 26.10.2012
|  | II | 5 | 29.10.2012
D. | Wind Mill
1. | Mullakkadu Phase - I | 10 | 0.55 | 18.01.1986
2. | Mullakkadu Phase - II | 10 | 0.55 | 1986-08-09
3. | Mullakkadu Phase - III | 1 | 0.055 | 21.09.1989
S.G-2 8
Date of commissioning of Power Stations (Contd..)
SI.No. | Name of Station | Unit | MW | Commissioned on
4. [ | Kayathar Phase - I | 15 | 1,35 07.04.1988
|  | 6 | 1.2 | 1989-12-06
|  | ko Or/ | 0.2 | 27.02.1991
5. | Kayathar Phase - II |  | 6 | 25.01.1990
|  |  | 1.35 | 28.10.1992
|  |  | 0.2 | 1992-06-01
6. | Puliyankulam | 1 | 0.09 | 13.06.1988
|  | 6 | 1.5 | 31.03.1992
7. | Sultanpet | 1 | 0.09 | 18.06.1988
8. | Muppandal | 20 | i 4.00 | 30.03.1990
9. | Road Side Wind Mill | 4 | 0.22 | 31.05.1992
10. | Kethanur | 8 | 2 | 22.09.1993
E. | Gas
1. | Narimanam (10 MW) | I II | 5 5 | 14.01.1992 17.01.1992
|  | 1 | 30 | 1996-12-02
2. | Basin Bridge (120 MW) | II | 30 | 25.02.1996
|  | III | 30 | 26.03.1996
|  | IV | 30 | 31.03.1996
3. | Kovilkalappal (107.88 MW) | I | 107.88 | 30.03.2001
4. | Valuthur Phase I (95 MW) | I | 95 | 13.03.2003
5. | Valuthur Phase II (92.2 MW) | II | 92 | 31.08.2008
6, | Kuttalam (101 MW) | I | 101 | 24.03.2004
F. | 'pp*
1 | Pillaiperumalnallur Power Generating Company (P) LTD | I | 330.5 | 26.04.2001
2. | TAQA Neyveli Power Company (P) LTD | I | 250 | 16.12.2002
3. | LancoTanjore Power Company Limited | I | 113.2 | 2005-11-08
4. | Pioneer Power Limited | I | 52.8 | 2006-01-07
* The PPA of M/s.Madurai Power Corporation Pvt Ltd (105.66 MW) expired at 24.00 hrs on 21.09.2016.
Hence, not included in the list.
9
Installed capacity as on 01.04.2019
SI.No. | Name of Power Station | Capacity in MW
Hydro — Non Irrigation
| Kundah PH I (3x20 MW) | 60
2 | Kundah PH II (5x35 MW) | 175
3 | Kundah PH III (3x60 MW) | 180
4 | Kundah PH IV (2x50 MW) | 100
5 | Kundah PH V (2x20 MW) | 40
6 | Kundah PH VI (1x30 MW) | 30
7 | Pykara PH (3x7) +( 1x11) + (2x13.6 MW) | 59.2
8 | Moyar PH (3x12 MW) | 36
9 | Aliyar PH (1x60 MW) | 60
10 | Kadamparai PH (4x100 MW) | 400
11 | Suruliyar PH (1x35 MW) | 35
12 | Poonachi Mini PH (2x1 MW)
13 | Maravakandy Mini Micro PH (1x0.75 MW) | 0.75
14 | Mukurthy Mini PH (2x0.35 MW) | 0.7
15 | Pykara Micro PH (1x2 MW) | 2
16 | PUSHEP (3x50 MW) | 150
17 | Kodayar PH I (1x60 MW) | 60
18 | Kodayar PH II (1x40 MW) | 40
| Total Hydro — Non Irrigation | 1430.65
Hydro — Irrigation
1 | Sarkarpathy PH (1x30 MW) | 30
2 | Sholayar PH-I (1x42 MW) + (1x35 MW) | 77
3 | Sholayar PH-II (1x25 MW) | 25
4 | Mettur Dam PH (4x12.5 MW) | 50
5 | Mettur Tunnel PH (4x50 MW) | 200
6 | Bhavani Kattalai Barrage PH —I (2x15 MW) | 30
7 | Bhavani Kattalal Barrage PH- II (2x15 MW) | 30
8 | Bhavani Kattalai Barrage PH- III (2x15 MW) | 30
9 | Lower Mettur Barrage PH-I (2x15 MW) | 30
10 | Lower Mettur Barrage PH-II (2x15 MW) | 30
11 | Lower Mettur Barrage PH-III (2x15 MW) | 30
12 | Lower Mettur Barrage PH-IV (2x15 MW) | 30
13 | Lower Bhavani Micro Hydel PH (4x2 MW) | 8
Installed capacity as on 01.04.2019 (Contd...)
SI.No. | Name of Power Station | Capacity in MW
14 | Lower Bhavani RBC (2x4 MW) | 8
15 | Sathanur Dam PH (1x7.5 MW) | 7.5
16 | Periyar PH (4x42) | 168
17 | Papanasam PH (4x8 MW) | 32
18 | Servalar PH (1x20 MW) | 20
19 | Vaigai Small PH (2x3 MW) | 6
20 | Thirumurthy Mini PH (3x0.65 MW) | 1.95
21 | Allyar Mini PH (2x1.25 MW) | 2.5
22 | Amaravathi (2x2 MW) | 4
23 | Perunchani (2x0.65 MW) | 1.3
24 | Periyar Vaigal Mini PH-I (2x2 MW) | 4
25 | Periyar Vaigal Mini PH-II (2x1.25 MW) | 2.5
26 | Periyar Vaigal Mini PH-III (2x2 MW) | 4
27 | Bhavani Barrage 2 PH (2x5 MW) | 10
28 | Bhavani Barrage 1 PH (2x5 MW) | 10
29 | Periyar Vaigai Mini PH — IV (2x1.25 MW) | 2.5
| Total Hydro — Irrigation | 884.25
| Grand Total Hydro | 2314.9
SI.No. | Name of Power Station | Capacity in MW
Thermal
1 | Mettur Thermal Power Station-I (4x210 MW) | 840
2 | Tuticorin Thermal Power Station (5x210 MW) | 1050
3 | North Chennai Thermal Power Station —I (3x210MW) | 630
4 | Mettur Thermal Power Station II (1x600 MW) | 600
5 | North Chennai Thermal Power Station —II (2x600 MW) | 1200
| Total Thermal | 4320
SI.No. | Name of Power Station | Capacity in MW
Gas
1 | Basin Bridge (4x30 MW) | 120
2 | Thirumakottai (Kovilkalappal) (1x107.88 MW) | 107.88
3 | Valuthur (Phase I- 95MW & Phase II-92.2MW) | 187.2
4 | Kuttalam (1x101 MW) | 101
| Total Gas | 516.08
11
Installed capacity as on 01.04.2019 (Contd...)
SI.No. | Stations | Share in MW
Central Generating Stations
1 | NTPC Ramagundam Stage I, II & III (2600 MW) (3x200MW, 3x500MW & 1x500MW) | 624
2 | Talcher STPP —Stage II - 2000 MW (4x500MW) | 487
3 | Simhadri Stage II - 1000 MW (2x500MW) | 211
4 | NTECL-Vallur units I, II & III -1500 MW (3x500MW) | 1066
5 | NLC — TPS 1 Expansion- 420 MW (2x210MW) | 226
6 | NLC TS-II Stage 1- 630MW (3x210MW) | 189
7 | NLC TS-II Stage 2 - 840 MW (4x210MW) | 283
8 | Neyveli TS 2 Expansion units I & II -500 MW (2x250MW) | 270
9 | NTPL- Tuticorin units I & II- 1000 MW (2x500MW) | 414
10 | MAPS 440 MW (2x220MW) | 331
11 | KAPS —Unit 1 to 4, 880 MW (4x220MW) | 226
12 | Kudankulam NPP (KKNPP) -2000 MW (2x1000MW) | 1151
13 | Kudgi SIPS- Stage I — 2400 MW (3x800 MW) | 323
14 | External Assistance from ER | 35
| TOTAL CGS | 5836
Note: NLC TPS I Agreement expired on 31.3.2019
Power Purchases
SI.No. | Name of Power Station | Share in MW
Independent Power Plants (IPP)
1 | Pillaiperumalnallur GTPP (lx 330.50 MW) | 330.5
2 | TAQA Neyveli PoWer Company (1x250 MW) | 250
3 | LANCO Tanjore Power Company (1x113.20 MW) | 113.2
4 | Pioneer Power Limited (lx 52.80 MW) | 52.8
| Total IPP | 746.5
SI.No. | Traders/Generators Quantum in | MW
Captive Power Plants
| Captive Generators (Open Access Quantum) | 986.18*
*These CPPs though not supplying to TANGEDCO, they supply through open access to private consumers.
| Total | 986.18*
12
Installed capacity as on 01.04.2019 (Contd....)
SI.No. | Traders/Generators Quantum in | MW
Long Term Open Access (LTOA)
1 | OPG antra-state) | 74
2 | Coastal Energen (Intra-state) | 558
3 | IL&FS antra-state) | 540
4 | Jindal Power Ltd. | 400
5 | DB Power | 208
6 | BALCO | 200
7 | KSK Ma hanad hi | 500
8 | GMR /EMCO | 150
9 | Dhariwal | 100
10 | Athunik | 100
| TOTAL | 2830
SI.No. | Traders/Generators | Quantum in MW
Medium Term Open Access (MTOA)
1 | Jindal | 200
2 | PTC (Through IL 81, FS) | 550
| Total | 750
Total installed capacity in MW |  | 18299.661
SI. No. | Renewable Energy Sources | Capacity in MW
1 | Wind ** | 8468.11
2 | Solar | 2724.55
3 | Biomass — Combustion | 265.59
4 | Bagasse | 721.4
| Total | 12179.65
** Excluding 478.690 MW of CTU
13
Year wise installed capacity in MW
Year | Hydro | Thermal | Gas | CGS | Private sector | External assist- once | Others | Total installed capacity
2005-06 | 2137.4 | 2970 | 443.64 | 2841 | 1101.16 | 360 | 178 | 10031.2
2006-07 | 2184.15 | 2970 | 443.24 | 2837 | 1154.16 | 335 | 174.35 | 10097.89
2007-08 | 2186.65 | 2970 | 441.44 | 2825 | 1179.76 | 305 | 214.65 | 10122.5
2008-09 | 2186.65 | 2970 | 533.44 | 2825 | 1179.76 | 305 | 214.65 | 10214.5
2009-10 | 2186.65 | 2970 | 533.44 | 2825 | 1179.76 | 305 | 214.65 | 10214.5
2010-11 | 2190.65 | 2970 | 515.88 | 2861 | 1179.76 | 305 | 214.65 | 10236.94
2011-12 | 2223.25 | 2970 | 515.88 | 2956 | 1179.76 | 305 | 214.65 | 10364.54
2012-13 | 2237.4 | 2970 | 515.88 | 3520 | 1154.16 | 50 | 67.9 | 10515.34
2013-14 | 2284.4 | 4060 | 515.88 | 3870 | 1154.16 | - | - | 11884.44
2014-15 | 2288.4 | 4660 | 515.88 | 4809 | 958.16 | - | - | 13231.44
2015-16 | 2307.9 | 4660 | 516.08 | 5429 | 5028.5 | 35 |  | 17976.48
2016-17 | 2307.9 | 4320 | 516.08 | 6002.5 | 5551.3 | 35 | - | 18732.78 (as on 31.05.17) 18747.28
2017-18 | 2307.9 | 4320 | 516.08 | 6117 | 5451.3 | 35 | -
2018-19 | 2314.9 | 4320 | 516.08 | 5801 | 5312.68 | 35 | - | 18299.66
Year wise capacity addition of NCES
Year | Wind Generation |  | Solar Power Plant | Biomass Power Plant | Sugar Mill Cogen Plants
| Capacity added in MW | Cumulative total in MW | Capacity in MW | Capacity in MW,MW, | Private ono | Co operative (MW)
Upto 1997 | 0 | 676.155 | -- | 18 (from 1995- 2000) | 121.6 (from 1995- 2000) | 20.0 from 1994 to 2000)
1997-1998 | 31.14 | 707.295 | --
1998-1999 | 17.765 | 725.06 | --
1999-2000 | 45.675 | 770.735 | --
2000-2001 | 41.895 | 812.63 | -- | Nil | Nil | Nil
2001-2002 | 44.035 | 856.665 | -- | Nil | Nil | Nil
2002-2003 | 133.6 | 990.265 | -- | 1.6 | 100.5 | Nil
2003-2004 | 371.225 | 1361.49 | -- | Nil | 32 | Nil
2004-2005 | 678.735 | 2040.225 | -- | 1.5 | Nil | Nil
2005-2006 | 857.555 | 2897.78 | -- | 7.75 | 40 | Nil
2006-2007 | 577.91 | 3475.69 | -- | 17.5 | 22 | Nil
2007-2008 | 381.075 | 3856.765 | -- | 26.5 | 115 | Nil
2008-2009 | 430.975 | 4287.74 | -- | 36.7 | 20 | Nil
2009-2010 | 602.025 | 4889.765 | -- | 27.5 | 88.8 | Nil
2010-2011 | 997.4 | 5887.165 | 5 | 6.95 | 50 | Nil
2011-2012 | 1083.46 | 6970.625 | 10 | 25 | 27.5 | Nil
2012-2013 | 174.6 | 7145.225 | 5 | 8.4 | 22 | Nil
2013-2014 | 107.38 | 7252.605 | 76.66 | 33.6 | Nil | Nil
2014-2015 | 186.25 | 7438.855 | 46.25 | 19 | Nil | Nil
2015-2016 | 158.85 | 7597.705 | 956.502 + 43 956. (Solar Roof Top) | Nil | Nil | 18
2016-2017 | 251.55 | 7849.255 | 133860 + 48. 506.860 (Solar Roof Top) | Nil | Nil | 15
2017-2018 | 303.135 | 8152.39 | 312+24.03 (Solar Roof Top) | . 7669 | 19 MW(dc) Nil | 15
2018-2019 | 315.715 | 8468.105 | 638.62+52.49 (Solar Roof Top) | 27.925 | Nil | 33
Total |  | 8468.105 | 2724.55 | 265.594 | 620.4 | 101
15
Station wise generation of TANGEDCO in MU
(Hydro, Thermal, Gas and Wind)
S. No. | Station | 2009 -10 | 2010 -11 | 2011 -12 | 2012- 13 | 2013- 14 | 2014- 15 | 2015- 16 | 2016- 17 | 2017- 18 | 2018- 19
Hydro
1 | Pykara | 64 | 29 | 40 | 40 | 62 | 39 | 57 | 13 | 0.974 | 22.04
2 | Moyar | 211 | 155 | 132 | 78 | 148 | 145 | 116 | 62 | 0.94 | 161.976
3 | Kundah-I | 279 | 256 | 218 | 181 | 270 | 258 | 230 | 161 | 126 | 270.77
4 | Kundah-II | 734 | 656 | 578 | 454 | 661 | 654 | 621 | 407 | 375 | 678.649
5 | Kundah-III | 438 | 391 | 350 | 265 | 381 | 390 | 366 | 215 | 184 | 397.574
6 | Kundah-IV | 167 | 137 | 157 | 71 | 143 | 157 | 117 | 47 | 76 | 148.38
7 | Kundah-V | 85 | 61 | 53 | 43 | 74 | 93 | 38 | 44 | 46 | 89.836
8 | Mettur Dam | 83 | 95 | 154 | 83 | 105 | 107 | 92 | 45 | 52 | 147.935
9 | Mettur Tunnel | 389 | 266 | 471 | 120 | 357 | 336 | 246 | 81 | 163 | 440.597
10 | Periyar | 396 | 430 | 535 | 179 | 454 | 517 | 505 | 94 | 287 | 703.006
11 | Suruliyar | 99 | 98 | 116 | 49 | 100 | 103 | 92 | 42 | 71 | 92.532
12 | Papanasam | 130 | 138 | 122 | 63 | 138 | 118 | 117 | 67 | 115 | 121.423
13 | Sarkarpathy | 121 | 135 | 110 | 84 | 138 | 134 | 79 | 63 | 85 | 129.655
14 | Aliyar | 166 | 163 | 174 | 77 | 144 | 154 | 153 | 62 | 90 | 48.571
15 | Kadamparal | 499 | 572 | 511 | 302 | 504 | 502 | 413 | 289 | 384 | 434.795
16 | Shoiayar-I | 288 | 356 | 216 | 146 | 195 | 196 | 207 | 184 | 102 | 177.749
17 | Sholayar-II | 64 | 57 | 61 | 57 | 72 | 65 | 57 | 43 | 61 | 43.306
18 | Kodayar-I | 196 | 81 | 215 | 75 | 113 | 136 | 193 | 127 | 83 | 144.127
19 | Kodayar-II | 84 | 64 | 82 | 31 | 46 | 66 | 86 | 42 | 50 | 50.393
20 | Servalar | 26 | 39 | 27 | 9.6 | 50 | 39 | 39 | 12 | 27 | 43.214
21 | Lower Mettur (Barrage 1 to 4) | 298 | 264 | 403 | 159 | 258 | 267 | 224 | 92 | 131 | 219.358
22 | Pykara Micro Hydel | 10 | 6 | 6 | 4 | 9 | 7 | 6 | 3 | 5 | 8.44
23 | Vaigai Micro Hydei | 11 | 15 | 24 | 3 | 15 | 16 | 18 | 2 | 7 | 23.131
24 | Bhavani &agar Micro Hyde! | 37 | 33 | 42 | 16 | 25 | 32 | 30 | 18 | 15 | 32.645
Station wise generation of TANGEDCO in MU
(Hydro, Thermal, Gas and Wind)
S. No. | Station | 2009 -10 | 2010 -11 | 2011 -12 | 2012- 13 | 2013- 14 | 2014- 15 | 2015- 16 | 2016- 17 | 2017- 18 | 2018- 19
25 | Poonachi Micro | 3 | 5 | 1 | 2 | 5 | 3 | 3 | 2 | 0.448 | 3.145
26 | Maravakandi | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 0 | 0.769 | 0.861
27 | BBC Bhavanisagar | 27 | 21 | 24 | 0.1 | 14 | 19 | 7 | 0 | 5 | 18.767
28 | Sathanur Micro | 7 | 10 | 11 | 5 | 2 | 1 | 11 | 2 | 13 | 6.3
29 | Parsons Valley | 65 | 39 | 36 | 30 | 43 | 35 | 26 | 24 | 27 | 45.95
30 | Thirumurthy Micro | 3 | 4 | 3 | 2 | 1 | 2 | 1 | 1 | 2 | 2.833
31 | Mukurthi Micro | 2 | 1 | 1 | 1 | 2 | 2 | 1 | 0 | 0.777 | 1.465
32 | Lower Allyar | 8 | 9 | 9 | 4 | 5 | 6 | 8 | 0 | 3 | 5.94
33 | PUSHEP | 560 | 432 | 357 | 195 | 399 | 367 | 281 | 193 | 274 | 507.946
34 | Perunchani Mini | 2 | 3 | 1 | 0.2 | 1 | 0 | 1 | 0 | 0.134 | 2.962
35 | Bhavani Kattalai PH I, II & III | 75 | 72 | 98 | 71 | 133 | 195 | 167 | 60 | 76 | 180.998
36 | Amaravathy | 10 | 9 | 7 | 2.1 | 5 | 6 | 5 | 1 | 5 | 9.495
37 | Periyar-Vaigai Micro | - | 1 | 8 | 2 | 12 | 18 | • 19 | 2 | 19 | 44.72
38 | Bhavani Barrage I & II | - | - | - | - | - |  | - | 5 | 7 | 10.68
| Sub-Total | 5638 | 5105 | 5354 | 2905 | 5085 | 5186 | 4633 | 2505 | 3063 | 5472
17
Stationwise generation of TANGEDCO in MU
(Hydro, Thermal, Gas and Wind)
Station . | 2009 -10 | 2010 -11 | 2011 -12 | 2012- 13 | 2013- 14 | 2014- 15 | 2015- 16 | 2016- 17 | 2017- 18 | 2018- 19
Thermal
ETPS | 1500 | 1396 | 894 | 736 | 1207 | 605 | 442 | 192
TIPS | 7167 | 7113 | 7892 | 8281 | 7891 | 7673 | 7083 | 5547 | 5247 | 6306
MTPS —1 | 6390 | 6065 | 6845 | 6200 | 6479 | 6233 | 5977 | 5731 | 5108 | 5807
NCTPS —1 | 4825 | 4511 | 4693 | 5060 | 4102 | 4261 | 4449 | 3710 | 4204 | 3999
NCTPS - II |  |  | - | 21 | 2126 | 5586 | 6498 | 6382 | 5858 | 6713
MTPS —11 |  |  | - | 365 | 1978 | 3022 | 3926 | 3447 | 2451 | 3153
Sub-Total | 19882 | 19085 | 20324 | 20663 | 23783 | 27380 | 28375 | 25009 | 22868 | 25978
Gas
Basin Bridge | 82 | 52 | 29 | 1 | 1 | 3 | 10 | 11 | 6 | 0.06
Kovilkalappal | 534 | 650 | 706 | 726 | 498 | 414 | 399 | 348 | 302 | 261
Valuthur- I & II | 1065 | 562 | 1104 | 937 | 1255 | 1081 | 721 | 967 | 1277 | ' 1204
Kuttalam | 646 | 173 | 413 | 56 | 641 | 497 | 564 | 377 | 350 | 410
Sub-Total | 2338 | 1449 | 2264 | 1732 | 2408 | 2003 | 1701 | 1709 | 1942 | 1875
Wind Mill | 11 | 12 | 12 | 12 | 13 | 8 | 7 | 6 | 7 | 3.3
Total | 27858 | 25639 | 27942 | 25300 | 31276 | 34569 | 34709 | 29223 | 27873 | 33328
Grid consumption of TANGEDCO in Million Units
.1 eaA | TANGEDCO |  |  |  |  | Purchase
| CM pAH | Thermal | se9 | pumA | I WU | SOD | sddI | NCES(Wind + Solar) | Others(CPP, Cogen, Biomass) | Open Purchase(Generators, Traders & Exchanges) | inoi
2009-10 | 5640 | 19882 | 2327 | 11 | 278r:0 | 21377 | 7021 | 8134 | 1542 | 6953 | 45027
2010-11 | 5105 | 19085 | 1436 | 13 | 25639 | 21634 | 6942 | 8709 | 1568 | 11579 | 50433
2011-12 | 5354 | 20324 | 2253 | 12 | 27942 | 21347 | 5731 | 9762 | 1914 | 9838 | 48592
2012-13 | 2905 | 20663 | 1720 | 13 | 25301 | 21677 | 5972 | 12952 | 2034 | 6935 | 49571
2013-14 | 5085 | 23783 | 2395 | 13 | 31276 | 25429 | 5660 | 10937 | 3310 | 13181 | 58517
2014-15 | 5186 | 27380 | 1995 | 8 | 34569 | 26684 | 4802 | 10165 | 766 | 17142 | 59559
2015-16 | 4633 | 28375 | 1694 | 7 | 34709 | 29194 | 2423 | 8776 | 569 | 24020 | 64982
2016-17 | 2505 | 25009 | 1703 | 6 | 29223 | 32161 | 2088 | 13952 | 659 | 27645 | 76505
2017-18 | 3063 | 22868 | 1935 | 7 | 27873 | 30982 | 1755 | 15575 | 368 | 30274* | 78954
2018-19 | 5472 | 25978 | 1875 | 3 | 33328 | 30583 | 2225 | 16153 | 378 | 31123* | 80462
*Including Swap and Wheeling
19
Grid consumption of TANGEDCO in Million Units
Gross (own+ purchase) | Sale of power/ Swap return | Total consumption | Auxiliary Consumption | Consumption in Kadamparai Pumping | Net consumption ** | JeaA
72887 | 634 | 72253 | 1943 | 487 | 69823 | 2009-10
76071 | 1039 | 75032 | 1846 | 612 | 72574 | 2010-11
76535 | 717 | 75818 | 1916 | 532 | 73370 | 2011-12
74872 | 0.27 | 74872 | 1867 | 3351 | 72670 | 2012-13
89793 | 0 | 89793 | 1956 | 493 | 87344 | 2013-14
94128 | 0 | 94128 | 2003 | 511 | 91614 | 2014-15
99691 | 0 | 99691 | 2457 | 414 | 96820 | 2015-16
105728 | 576 | 105152 | 2217 | 330 | 102605 | 2016-17
106827 | 312 | 106515 | 2023 | 407 | 104085 | 2017-18
113790 | 295 | 113495 | 2183 | 373 | 110939 | 2018-19
** inclusive of loss component
20
Allocation of power from CGS in MW as on 01.04.2019
STATES | RSTPS | Taicher STPP Stage II | Simhadri Stage II | NTECL - Unit 1,2 & 3 | NLC-TPS1 | NLC TPS-I Expansion | NLC TS-II Stagel | NLC TS-II Stage2 | NLC TPS II EXP | NTPL | Kudgi Stage-1 | MAPS | KAPS | KKNPP UNIT-1 | KKNPP UNIT-2 | TOTAL
APTRANSCO | 516 | 225 | 259 | 86 |  |  | 47 | 86 |  | 122 | 385 | 18 | 114 |  |  | 1858
KPTCL | 528 | 378 | 198 | 164 |  | 108 | 146 | 197 | 129 | 213 | 1309 | 37 | 288 | 234 | 221 | 4149
KSEB | 306 | 427 | 86 | 50 |  | 69 | 63 | 90 | 82 | 73 | 112 | 23 | 73 | 140 | 133 | 1726
TANGEDCO | 624 | 487 | 211 | 1066 | * | 226 | 189 | 283 | 270 | 414 | 323 | 331 | 226 | 589 | 562 | 5801
TELANGANA | 430 | 214 | 231 | 109 |  |  | 59 | 106 |  | 151 | 272 | 22 | 143 |  | 50 | 1786
PONDY | 94 | 65 | 15 | 25 |  | 17 | 76 | 29 | 20 | 29 |  | 8 | 36 | 37 | 34 | 483
NLC MINES | , | [5 empty] | 50 | 50 | [7 empty] | 100
GOA | 100 | [14 empty] | 100
ORISSA |  | 200 | [13 empty] | 200
HVDC- Gazuwaka | 2 | [14 empty] | 0.2
HVDC- TALCHER |  | 2 | [13 empty] | 2
HVDC- KOLAR |  | 2
TOTAL | 2600 | 2000 | 1000 | 1500 | 0 | 420 | 630 | 840 | 500 | 1000 | 2400 | 440 | 880 | 1000 | 1000 | 16211
ER allocation to Tamil Nadu: 35 MW
*: NLC TPS I Agreement expired on 31.3.2019
21
Performance of Tuticorin Thermal Power Station
Particulars | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
Units generated (MU) | 7167 | 7113 | 7892 | 8282 | 7891
Auxiliary consumption (MU) | 581 | 591 | 630 | 662 | 638
Auxiliary consumption (%) | 8.1 | 8.3 | 7.98 | 7.99 | 8.09
Service Hours | 7459 | 7632 | 7944 | 8078 | 7849
Planned Maintenance Hours | 833 | 333 | 546 | 433 | 469
Forced Outage Hours | 391 | 621 | 256 | 239 | 435
Reserve Shutdown Hours | 77 | 174 | 38 | 10 | 7
Outage rate (%) | 14.85 | 12.88 | 9.56 | 7.8 | 10.4
Availability Factor (%) | 85.15 | 87.12 | 90.44 | 92.2 | 89.6
Plant Load Factor (%) | 77.91 | 77.3 | 85.6 | 90 | 85.8
KWHr/KW | 6825 | 6774 | 7516 | 7888 | 7515
Central Meritorious Productivity Reward (Rs. in lakhs) | - | - | - | NA | NA
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 5.36 | 5.57 | 5.94 | 6.65 | 6.23
Oil consumption (Kilo litres) | 29591 | 38696 | 15521 | 7890 | 5959.5
25
Performance of Tuticorin Thermal Power Station
Particulars | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Units generated (MU) | 7673.24 | 7082 | 5547.59 | 5247.18 | 6306.31
Auxiliary consumption (MU) | 629.911 | 581 | 457.935 | 434.363 | 498.456
Auxiliary consumption (%) | 8.21 | 8.2 | 8.25 | 8.28 | 7.9
Service Hours | 7977 | 7622 | 6042 | 5854 | 6818-38
Planned Maintenance Hours | 465 | 457 | 778 | 278 | 359-38
Forced Outage Hours | 237 | 508 | 626 | 341 | 784-15
Reserve Shutdown Hours | 81 | 197 | 1314 | 2287 | 797-29
Outage rate (%) | 8.9 | 13.2 | 31 | 33.2 | 22.16
Availability Factor (%) | 91.1 | 86.8 | 69 | 66.8 | 77.84
Plant Load Factor (%) | 83.4 | 76.8 | 60.3 | 57 | 68.56
KWHr/KW | 7308 | 6745 | 5283 | 4997 | 6006
Central Meritorious Productivity Reward (Rs. in lakhs) | NA | NA | NA | NA | NA
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 6.37 | 5.22 | 4.07 | 4.06 | 4.55
Oil consumption (Kilo litres) | 6793.375 | 4795.499 | 4861.407 | 5620.114 | 3325.873
NA — Not applicable under new comprehensive performance award scheme of CEA with effect from 2004-05
Note : Deemed Generation : 7742.93 MU
Deemed PLF 84.18 %
26
Performance of Mettur Thermal Power Station-I
Particulars | 2009-10 | 2010-11 | 2011-12 | 201243 | 2013-14
Units generated (MU) | 6391 | 6065 | 6845 | 6200 | 6479
Auxiliary consumption (MU) | 527 | 516 | 565 | 516 | 550
Auxiliary consumption (%) | 8.25 | 8.51 | 8.26 | 8.32 | 8.5
Service Hours* | 8159 | 7792 | 8265 | 7526 | 8067
Planned Maintenance Hours* | 383 | 411 | 342 | 262 | 522
Forced Outage Hours* | 175 | 230 | 166 | 972 | 171
Reserve Shutdown Hours* | 43 | 327 | 11 | 0 | 0
Outage rate (%)* | 6.86 | 11.05 | 5.91 | 14.08 | 7.91
Availability Factor (%) | 93.14 | 88.95 | 94.09 | 85.92 | 92.09
[ Plant Load Factor (%) | 86.85 | 82.42 | 92.77 | 84.26 | 88.04
KWHr/KW | 7608 | 7220 | 8149 | 7381 | 7713
Central Meritorious Productivity Reward (Rs. in lakhs) | - | - | - | NA | NA
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 4.57 | 4.53 | 4.89 | 4.56 | 5.13
Oil consumption (Kilo litres) | 2273 | 5951 | 3798 | 3983 | 3081.02
* Equivalent
27
Performance of Mettur Thermal Power Station-I
Particulars | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Units generated (MU) | 6233 | 5977 | 5730.765 | 5107.734 | 5807.193
Auxiliary consumption (MU) | 536 | 506 | 491.062 | 441.062 | 492.857
Auxiliary consumption (%) | 8.6 | 8.47 | 8.57 | 8.64 | 8.49
Service Hours | 8001 | 7637 | 7435 | 6529 | 7492-19
Planned Maintenance Hours | 177 | 631 | 526 | 434 | 542-46
Forced Outage Hours | 543 | 217 | 160 | 558 | 151-44
Reserve Shutdown Hours | 39 | 299 | 639 | 1239 | 573-11
Outage rate (%) | 8.66 | 13.06 | 15.13 | 25.46 | 14.47
Availability Factor (%) | 91.34 | 86.94 | 84.87 | 74.54 | 85.53
Plant Load Factor (%) | 84.71 | 81.01 | 77.88 | 69.41 | 78.92
KWHr/KW | 7420 | 7116 | 6822 | 6081 | 6913
Central Meritorious Productivity Reward (Rs. in lakhs) | _ | _ | _ | _ | -
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | - NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 4.84 | 4.17 | 4.1 | 3.593 | 4.068
Oil consumption (Kilo litres) | 1964.69 | 3008.86 | 2316.473 | 2830.648 | 2008.156
NA — Not applicable under new comprehensive performance award scheme of CEA with effect from 2004-05
Note : Deemed Generation : 6752.398 MU
Deemed PLF : 91.76%
28
Performance of North Chennai Thermal Power Station-I
Particulars | 2009-10 | 2010-11 | 2011-12 | 2012-13 | _ 2013-14
Units generated (MU) | 4825 | 4511 | 4693 | 5059 | 4102
Auxiliary consumption (MU) | 433 | 401 | 392 | 426 | 382
Auxiliary consumption (%) | 8.97 | 8.89 | 8.36 | 8.42 | 9.31
Service Hours* | 8015 | 7613 | 7602 | 8192 | 7438
Planned Maintenance Hours* | 378 | 661 | 403 | 287 | 300
Forced Outage Hours* | 318 | 457 | 779 | 271 | 996
Reserve Shutdown Hours* | 49 | 29 | 0 | 10 | 26
Outage rate (%)* | 8.5 | 13.09 | 13.46 | 6.48 | 15.09
Availability Factor (%) | 91.5 | 86.91 | 86.54 | 93.52 | 84.91
Plant Load Factor (%) | 87.43 | 81.74 | 84.81 | 91.68 | 74.33
KWHr/KW | 7659 | 7160 | 7450 | 8031 | 6511
Central Meritorious Productivity Reward (Rs. in lakhs) | - | _ | _ | - | _
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 2.46 | 3.29 | 3.06 | 3.48 | 2.83
Oil consumption (Kilo litres) | 3378 | 4942 | 3439 | 3165 | 10564
* Equivalent
29
Performance of North Chennai Thermal Power Station-I
Particulars | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Units generated (MU) | 4261 | 4449 | 3710 | 4205 | 3999
Auxiliary consumption (MU) | 396 | 402 | 345 | 380 | 366
Auxiliary consumption (%) | 9.3 | 9.05 | 9.3 | 9.05 | 9.15
Service Hours | 7628 | 7712 | 6696 | 7470 | 7195
Planned Maintenance Hours | 669 | 429 | 889 | 310 | 897
Forced Outage Hours | 336 | 503 | 1040 | 387 | 303
Reserve Shutdown Hours | 127 | 140 | 135 | 593 | 365
Outage rate (%) | 12.92 | 12.2 | 23.56 | 14.71 | 17.87
Availability Factor (%) | 87.08 | 87.79 | 76.43 | 85.28 | 82.13
Plant Load Factor (%) | 77.21 | 80.39 | 67.23 | 76.19 | 72.46
KWHr/KW | 6763 | 7042 | 5889 | 6674 | 6347
Central Meritorious Productivity Reward (Rs. in lakhs) | _ | _ | _ | .. | -
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 3.19 | 2.93 | 2.53 | 3.05 | 2.79
Oil consumption (Kilo litres) | 5221 | 5040 | 3840 | 3222 | 2817
NA — Not applicable under new comprehensive performance award scheme of CEA with effect from 2004-05
Note : Deemed Generation : 4565.552 MU
Deemed PLF : 82.73 %
30
Performance of En pore Thermal Power Station
Particulars | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12
Units generated (MU) | 2032 | 1938.33 | 1500 | 1396 | 894
Auxiliary consumption (MU) | 278 | 282.48 | 219 | 220 | 150
Auxiliary consumption (%) | 13.7 | 14.57 | 14.61 | 15.8 | 16.73
Service Hours | 6408 | 6678 | 5330 | 5574 | 3632
Planned Maintenance Hours | 278 | 719 | 585 | 283 | 350
Forced Outage Hours | 0.2098 | 1363 | 2823 | 2207 | 4715
Reserve Shutdown Hours | - |  | 22 | 696 | 87
Outage rate (%) | 27.1 | 23.77 | 39.16 | 36.37 | 58.65
Availability Factor (%) | 72.9 | 76.23 | 60.84 | 63.63 | 41.35
Plant Load Factor (%) | 51.42 | 49.17 | 38.05 | 35.44 | 22.61
KWHr/KW | 4516 | 4307.4 | 3334 | 3103 | 1986
Central Meritorious Productivity Reward (Rs. in lakhs) | _ | _ | .. | _ | -
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | - | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 1.97 | 1.82 | 1.52 | 1.58 | 1.06
Oil consumption (Kilo litres) | 12490 | 17155 | 9913 | 16984 | 9925
NA — Not applicable under new comprehensive performance award Scheme of CEA with effect from 2004-05
31
Performance of Ennore Thermal Power Station
Particulars | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Units generated (MU) | 736 | 1207 | 604.83 | 442 | 192.001
Auxiliary consumption (MU) | 126 | 195 | 119.695 | 95 | 47.843
Auxiliary consumption (%) | 17.1 | 16.2 | 19.8 | 21.5 | 24.9
Service Hours | 3166 | 6415 | 4103 | 3143 | 1453
Planned Maintenance Hours | 164 | 312 | 71 | 262 | --
Forced Outage Hours | 5425 | 2033 | 4657 | 5154 | 6540 (3299+3241)
Reserve Shutdown Hours | 4 | -- | 19 | 225 | 767
Outage rate (%) | 63.85 | 26.8 | 54.2 | 64.22 | 73.7
Availability Factor (%) | 36.15 | 73.2 | 45.8 | 35.8 | 26.3
Plant Load Factor (%) | 18.67 | 30.61 (*) 40.51(**) | 15.34 (*) 20.31(**) | 14.81 | 10.23
KWHr/KW . | 1635 | 32564891A) | 11737449(S; | 1301 | 565
Central Meritorious Productivity Reward (Rs. in lakhs) _ | _ | _ |  | . | -
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 0.97 | 1.46 | 0.721 | 0.573 | 0.2613
Oil consumption (Kilo litres) | 6395 | 5761.197 | 5362.751 | 4132 | 1720.789
NA — Not applicable under new comprehensive performance award scheme of CEA with effect from 2004-05
* Including unit 5
** Excluding unit 5
Note: The Performance report of Ennore Thermal Power Station does not arise from the month of
December - 2016 onwards, due to the following reasons:
1.Board of TANGEDCO has accorded approval vide (Per) FB TANGEDCO Proceedings No.70 (Tech.Br.) dated
04.07.2013 to keep Unit V under permanent shutdown till the decommissioning of the Station.
2.Vide (Per) FB TANGEDCO Proceedings No.72, (Tech.Br.) dt 31.10.16, the Board of TANGEDCO has resolved to
shutdown the Units (Units I to IV) permanently from 31.03.2017.
3.Coal supply was stopped from 05.11.2016 and subsequently generation of ETPS was stopped from 20-31
hours on 16.11.2016.
32
Performance of North Chennai Thermal Power Station-II
Particulars | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Units generated (MU) | 5585.78 | 6498 | 6381.85 | 5858.04 | 6712.326
Auxiliary consumption (MU) | 398.7 | 467 | 469.45 | 410.57 | 427.406
Auxiliary consumption (%) | 7.14 | 7.18 | 7.361 | 7.01 | 6.37
Service Hours | 6059 | 6834 | 6718 | 6056 | 6655-20
Planned Maintenance Hours | - | 966 | 794 | 1673 | 727-46
Forced Outage Hours | 2701 | 862 | 721 | 408 | 678-02
Reserve Shutdown Hours | - | 122 | 527 | 623 | 698-51
Outage rate (%) | 30.89 | 22.2 | 23.31 | 30.86 | 24.03
Availability Factor (%) | 69.1 | 77.8 | 76.69 | 69.14 | 75.97
Plant Load Factor (%) | 53.14 | 61.55 | 60.71 | 55.73 | 63.85
KWHr/KW | 4654.818 | 5415 | 5318.21 | 4881.7 | 5593.61
Central Meritorious Productivity Reward (Rs. in lakhs) | _ | _ | - | _ | -
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 4.35 | 4.35 | 4.565 | 4.426 | 5.009
Oil consumption (Kilo litres) | 14761.43 | 9879 | 7763.906 | 5945.045 | 4991.12
NA - Not applicable under new comprehensive performance award scheme of CEA with effect from 2004-05
Note Deemed Generation : 8772.28 MU
Deemed PLF 83.45 %
33
Performance of Mettur Thermal Power Station-II
Particulars | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Units generated (MU) | 3022.33 | 3926 | 3446.61 | 2450.86 | 3153.1
Auxiliary consumption (MU) | 219.96 | 252 | 233.911 | 177.801 | 218.414
Auxiliary consumption (%) | 7.28 | 6.41 | 6.79 | 7.25 | 6.93
Service Hours | 6623 | 7671 | 7304 | 6051 | 6590-20
Planned Maintenance Hours | - | 603 | 765 | 863 | 739-00
Forced Outage Hours | 2137 | 444 | 31 | 674 | 457-34
Reserve Shutdown Hours | - | 66 | 660 | 1172 | 973-06
Outage rate (%) | 24.39 | 12.68 | 16.62 | 30.92 | 24.77
Availability Factor (%) | 75.61 | 87.32 | 83.38 | 69.08 | 75.23
Plant Load Factor (%) | 57.5 | 74.49 | 65.57 | 46.63 | 59.99
KWHr/KW | 5037.22 | 6543.1 | 5744.35 | 4085 | 5255.167
Central Meritorious Productivity Reward (Rs. in lakhs) | - | - | - | .. | -
Incentive for reduction in oil/ auxiliary consumption (Rs. in lakhs) | NA | NA | NA | NA | NA
Coal consumption (Million Tonnes) | 2.159 | 2.484 | 2.28 | 1.675 | 2.173
Oil consumption (Kilo litres) | 4015.144 | 2650.98 | 1955.05 | 2177.941 | 1694.665
NA - Not applicable under new comprehensive performance award scheme of CEA with effect from 2004-05
Note : Deemed Generation : 4407.329 MU
Deemed PLF : 83.85 %
34
Performance of Thermal Power Stations (Combined)
Particulars | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
Installed capacity | 2970 | 2970 | 2970 | 2970 | 2970
Units generated (MU) | 19882 | 19085 | 20324 | 20277 | 19678
Auxiliary consumption (MU) | 1759 | 1728 | 1737 | 1729 | 1766
Auxiliary consumption (%) | 8.85 | 9.05 | 8.55 | 8.53 | 8.98
Service Hours | 7241 | 7153 | 6861 | 6741 | 7442
Planned Maintenance Hours | 545 | 422 | 410 | 287 | 401
Forced Outage Hours | 927 | 879 | 1479 | 1727 | 909
Reserve Shutdown Hours | 48 | 307 | 34 | 5 | 8
Outage rate (%) | 17.34 | 118.35 | 21.89 | 23.05 | 15.05
Availability Factor (%) | 82.66 | 81.65 | 78.11 | 76.95 | . 84.95
Plant Load Factor (%) | 76.42 | 73.36 | 77.9 | 77.94 | 75.64
KWHr/KW | 6694 | 6426 | 6843 | 6827 | 6626
Coal consumption (Million Tonnes) | 13.91 | 14.97 | 14.95 | 15.66 | 15.65
Oil consumption (Kilo litres) | 45.155 | 66573 | 32683 | 21433 | 25365.72
35
Performance of Thermal Power Stations (Combined)
Particulars | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19
Installed capacity | 4660 | 4660 | 4660 | 4320 | 4320
Units generated (MU) | 27380 | 28375 | 25008.816 | 22868.81 | 25977.64
Auxiliary consumption (MU) | 2300 | 2302 | 2045.201 | 1843.796 | 2003.088
Auxiliary consumption (%) | 8.39 | 8.11 | 8.18 | 8.06 | 7.71
Service Hours | 6717 | 6770 | 5941 | 6392 | 6950-19
Planned Maintenance Hours | 230 | 558 | 625 | 711.6 | 653-14
Forced Outage Hours | 1768 | 1281 | 1521 (979+542) | 473.6 | 474-55
Reserve Shutdown Hours | 45 | 175 | 673 | 1182.8 | 681-31
Outage rate (%) | 23.33 | 22.93 | 30.55 | 27.03 | 20.66
Availability Factor (%) | 76.67 | 77.08 | 69.45 | 72.968 | 79.34
Plant Load Factor (%) | 62.71 | 64.86 | 56.99 | 60.43 | 68.65
KWHr/KW | 5875 | 5693.75 | 4936.93 | 5343.74 | 6022.96
Coal consumption (Million Tonnes) | 21.63 | 19.73 | 17.8063 | 16.804 | 18.59
Oil consumption (Kilo litres) | 38118.4 | 29506.38 | 22457.625 | 19795.75 | 14836.81
Note : Generation of ETPS stopped from 20-31 hrs on 16.11.2016
Deemed Generation : 32240 MU
Deemed PLF : 85.19 %
36
Consumers and Connected Load
Category | Consumers as on 31.03.19 (in numbers) | Connected load in MW
HT (Including sale to traders ) | 9748 | 9611.71
LT
Domestic | 207,54,412 | 30874.07
Huts | 11,21,198 | 209.81
Notified category | 655 | 3.26
Public Lighting & Water supply | 7,36,912 | 1426.98
Recognised Educational Institutions & Private Educational Institutions | 1,00,824 | 495.31
Actual places of public worship | 1,26,245 | 166.06
Cottage and Tiny Industries | 1,67,887 | 673.57
Power Looms | 1,64,618 | 668.95
Industries | 3,91,709 | 10549.77
Agriculture | 21,17,440 | 9449.46
Commercial | 35,43,941 | 9126.3
Temporary Supply | 3,62,512 | 748.75
LT Total | 295,88,353 | 64392.28
Total(HT+LT) | 295,98,101 | 74003.99
58
Horsepower wise connected load details of
Agricultural Pump sets (as on 31.03.19)
Agricultural Pump sets
Ratings
Numbers Connected Load (HP)
3 HP 5,29,662 15,88,986
5 HP 9,52,998 47,64,990
7.5 HP 4,04,165 30,31,238
10 HP 1,45,650 14,56,500
12.5 HP 30,266 3,78,325
15 HP 20,066 3,00,990
17.5 HP 5,897 1,03,198
20 HP 21,251 4,25,020
Above 20 HP 7,485 . 6,17,588
Total 21,17,440 1126166,834
59
Pattern of electricity consumption (in %)
Year | Domestic | Commercial | Agricultural | Industry | Others | Total
2005-06 | 24.78 | 8.89 | 21.99 | 36.58 | 7.76 | 100
2006-07 | 23.99 | 9.37 | 21.15 | 38.35 | 7.14 | 100
2007-08 | 23.8 | 9.71 | 21.04 | 39.66 | 5.79 | 100
2008-09 | 25.63 | 9.43 | 21.48 | 34.16 | 9.3 | 100
2009-10 | 26.59 | 9.93 | 21.51 | 34.37 | 7.6 | 100
2010-11 | 26.35 | 10.05 | 18.9 | 36.44 | 8.26 | 100
2011-12 | 27.2 | 10.87 | 17.45 | 37.12 | 7.36 | 100
2012-13 | 31 | 11.65 | 17.16 | 31.32 | 8.87 | 100
2013-14 | 33.19 | 11.7 | 20.21 | 24.38 | 10.52 | 100
2014-15 | 28.62 | 10.93 | 16.15 | 37.47 | 6.83 | 100
2015-16 | 29.56 | 11.15 | 14.53 | 36.9 | 7.86 | 100
2016-17 | 29.55 | 11.2 | 14.13 | 37.06 | 8.06 | 100
2017-18 | 30.06 | 11.54 | 13.1 | 38.03 | 7.27 | 100
2018-19 | 29.37 | 11.19 | 1411 | 37.89 | 7.34 | 100
60
Year wise revenue subsidy received
Year | Amount (Rs. in crores) | Year | Amount (Rs. in crores)
1996-97 | 586.51 | 2008-09 | 1831.61
1997-98 | 570.06 | 2009-10 | 1672.17
1998-99 | 1076.22 | 2010-11 | 1652.58
1999-00 | 1776.39 | 2011-12 | 2071.41
2000-01 | 1693.21 | 2012-13 | 4457.23
2001-02 | 322.5 | 2013-14 | 4985.09
2002-03 | 2212.14 | 2014-15 | 6953
2003-04 | 250 | 2015-16 | 7695.1
2004-05 | 924.5 | 2016-17 | 10484.91
2005-06 | 1179.4 | 2017-18 | 12504.97
2006-07 | 1330.1 | 2018-19(RE) | 13070.75
2007-08 | 1457.02
72
Revenue receipts and expenses
Revenue account (Rs. in crores)
I 1 Revenue receipts |  | 2009-10 | 2010-11 2011-12 |  | 2012-13 | 2013-14
a | Revenue from sale of power | 16760.87 | 19996.16 20555.59 |  | 26688.82 | 29536.39
b | Tariff subsidy + Hyde! swing | 1672.17 1652.58 2071.41 |  |  | 4457.23 | 14985.09
c | Misc. Income | 410.96 | 452.33 271.38 |  | 321.54 i 391.28
d FRP Bonds taken over by GoTNI |  |  |  |  | I
| Total revenue receipts A i 18844.00 |  | 22101.07 | 22898.38 | 31467.59 | 34912.76
2 -----r | Revenue expenses | t----- 17052.71 19918.29 |  | 19325.01 | 23359.65 | 28301.28
a Power purchase
b Fuel cost i 4328.60 4928.31 6110.07 |  |  |  |  | 6396.87 | 5862.57
c | Transmission charges |  | 508.73 1709.50 |  | 2381.18 | 2228.01
d | Repairs & Maintenance | 346.69 | 285.06 | 309.94 | 378.26 | 523.85
e | Employee cost | 3075.36 | 3707.03 | 3764.39 | 3598.65 | 4182.97
f | Administration & general expenses | 199.17 | 187.65 187.94 |  | 209.51 | 235.33
g | Depreciation | 839.21 | 779.8 | 616 | 647.07 | 722.9
h Interest & finance charges 2787.86 |  |  | 3591.15 | 3588.08 | 4462.41 | 6779.77
i r"-- j | Prior period charges /credit | 345.12 | 848.7 | 576.81 | 1701.15 | 38.73
| Other debits & extraordinary items | 163.92 | 11.31 | 31.98 | 11.91 | 22.38
| Total revenue expenses B | 29138.64 | 34766.03 | 36219.72 | 43146.66 | 48897.79
3 | Revenue surplus/gap (A-B) | -10294.64 | -12664.96 | -13321.34 | -11679.07 | -13985.03
74
Revenue receipts and expenses (Contd..)
Revenue account (Rs. in crones)
1 | Revenue receipts | 2014-15 i 2015-16 |  | 2016-17 2017-18 |  | 8-1 2019 E)
a | Revenue from sale of power | 35072.221 41515.75 |  | 43964.4 | 43686.76 | 46046.23
b | Tariff subsidy + Hyde! swing | 5953,00 6695.10 |  | 8484.91 | 7724.53 | 7731,67
c | Misc. Income | 481.87! 494.54 |  | 1562.81 | r 2389.33 | 1586.34
d | FRP Bonds taken over by GoTN | 1000.001 1000.00 |  | 2000 | 4780.43 | 5339.08
| Total revenue receipts A | 42507.09 49705.39 |  | 56012.12 | 58581.05 | 60703.32
2 | Revenue expenses
a | Power purchase | 29278.07 29920.74 |  | 35692.33 | 39058.35 | 38814.06
b | Fuel cost | 9746.25 8744.23 |  | 8036.98 7291.64 |  | 9115.82
U | Transmission charges | 1373.631 1696.89 |  | . 1692.26 2013A2 |  | 2189.34
d | Repairs & Maintenance | 646.631 736.96 |  | 665.58 546.50 |  | 785.03
e | Employee cost | 4747.9 | 5008.7 | 5628.04 7535.60 |  | 8506.43
| Administration & general expenses | 297.631 381.73 |  | 424.19 409.58 |  | 448.39
g | Depredation | 1285.38 | 1608.21 | 1857.42 | 2062.17 | 2174.7
h | Interest & finance charges | 1 |  | 8432.49 | 7263.84 | 8066.63
i | Prior period charges /credit | -269.16 | -1427.11 | -2068.41 | 160.77 | -140.33
j | Other debits & extraordinary items | 26.9
| Total revenue expenses B | 55263.69 | 55492.2 | 60360.88 | i 66341.87 | 69960.07
3 | Revenue surplus/gap (A-B) | -12756.6 | -5786.81 | -4348.76 | -7760.82 | -9256.75
75
Category wise sale of power in MU
SI. No. | Particulars | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19
1. | Domestic | 15361 | 16250 | 17507 | 17834 | 20201 | 21990 | 23489 | 24530 | 25815 | 26996
2. | Commercial | 5737 | 6320 | 6441 | 6418 | 7416 | 8394 | 8860 | 9300 | 9916 | 10282
3. | Public lighting & water works | 1494 | 1610 | 1700 | 1468 | 1917 | 2110 | 2232 | 2405 | 2248 | 2282
4. | Cottage industries | 1410 | 1500 | 1344 | 1182 | 406 | 196 | 218 | 271 | 282 | 296
5. | Industries | 18447 | 20727 | 20284 | 19775 | 24010 | 26844 | 29105 | 30769 | 32383 | 34836
6. | Agriculture | 12754 | 9428 | 10124 | 11253 | 12301 | 12406 | 11542 | 11733 | 11250 | 13064
. | Traction ( Railways) | 0 | 373 | 708 | 711 | 766 | 824 | 834 | 832 | 839 | 896
. | Bulk supply to licensees | 11 | 15 | 21 | -25 | 11 | 11 | 11 | 10 | 11 | 14
9. | Miscellaneous sales | 1878 | 2223 | 0.2858 | 2615 | 3711 | 3697 | 2979 | 3002 | 2950 | 3115
10. | Sales within the state (Total) | 57092 | 58446 | 60987 | 61281 | 70739 | 76472 | 79276 | 82852 | 85694 | 91781
11' | Sales to other states ding ing (i Pondicherry) | 684 | 412 | 400 | 381 | 237 | 356 | 188 | 168 | 196 | 137
| Total | 57776 | 58858 | 61387 | 61662 | 70976 | 76828 | 79464 | 83020 | 85890 | 91918 i
76
Average Rate of Realisation and Average Cost of Supply
SI.No. | Year | 09-10: Average Rate of Realisation in Rs. I unit; 10-11: Average Cost of Supply in Rs./unit
| 2008-09 | 09-10: 3.2; 10-11: 4.79
2 | 2009-10 | 09-10: 3.19; 10-11: 5.04
3 | 2010-11 | 09-10: 3.98; 10-11: 6.38
4 | 2011-12 | 09-10: 3.69; 10-11: 5.9
5 | 2012-13 | 09-10: 5.05; 10-11: 7
6 | 2013-14 | 09-10: 4.92; 10-11: 6.89
7 | 2014-15 | 09-10: 5.53; 10-11: 7.19
8 | 2015-16 | 09-10: 6.26; 10-11: 6.98
9 | 2016-17 | 09-10: 6.73; 10-11: 7.25
10 | 2017-18 | 09-10: 6.82; 10-11: 7.72
11 | 2018-19 (RE) | 09-10: 6.71; 10-11: 7.73
Categorywise Average Rate of Realisation (Rupees per unit)
| 2013-14 | 09-10: 2014-15; 10-11: 2015-16; 11-12: 2016-17; 12-13: 2017-18; 13-14: 2018-19 (RE)
Industrial HT | 637 | 09-10: 6.84; 10-11: 7.65; 11-12: 7.85; 12-13: 7.41; 13-14: 7.71
Commercial HT | 8.41 | 09-10: 9.01; 10-11: 10.04; 11-12: 10.1; 12-13: 9.55; 13-14: 9.9
Public Institution | 5.51 | 09-10: 6.11; 10-11: 7.78; 11-12: 8.06; 12-13: 8.07; 13-14: 8.52
Industrial LT | 627 | 09-10: 6.16; 10-11: 7; 11-12: 7.1; 12-13: 6.73; 13-14: 6.94
Commercial LT | 824 | 09-10: 7.73; 10-11: 8.79; 11-12: 8.96; 12-13: 8.81; 13-14: 8.85
Public Utilities LT | 5.6 | 09-10: 5.67; 10-11: 6.89; 11-12: 6.95; 12-13: 6.84; 13-14: 6.75
Domestic | 3.58 | 09-10: 3.7; 10-11: 2.88; 11-12: 2.72; 12-13: 2.43; 13-14: 2.43
77