## P2¦ GenCo Thermal
Unit | Fuel | Date of Commercial Operation (COD) | Capacity- AP Share (MW) | [8 empty] | Normative Availability - NAPAF (%) | Availability (%) | [8 empty] | Normative Net PLF - NAPLF (%) | Net PLF (%) | [8 empty] | Gross SHR (kCal/kWh) SERC Norm | Gross SHR (kCal/kWh) | [8 empty] | Net Generation (MUs or GWh) [Capacity * Net PLF * 8.76] | [8 empty] | Fixed (Rs/KW/yr) | [5 empty] | Fixed Cost (Rs/KW/yr) [Previous Year Fixed Cost * (1+Escalation)] | [8 empty] | Fixed Cost (Rs. Cr) [(Fixed Cost per KW * Capacity) / 10^4] | [8 empty] | Availability-adjusted Fixed Cost (Rs. Cr) For availability below norm, [Adj. Fixed Cost = Fixed Cost * Availability/Norm] | [8 empty] | Net Fixed Cost (Rs/kWh) (Availability-adjusted Fixed Cost in Rs Cr/Net Generation in GWh)*10 | [8 empty] | Variable Cost (Rs/kWh) | [5 empty] | Variable Cost (Rs/kWh) | [8 empty] | Variable Cost (Rs Crs) | [8 empty] | Variable Operating Cost (% of fuel costs) | Net Other Variable Cost (Rs/kWh) | [8 empty] | Total Net Variable Cost (Rs/kWh) | [8 empty] | Total Variable Cost (Rs Cr) Fuel Cost + Other Variable Cost | [8 empty] | PLF-Based Incentive (Rs Crs) | [8 empty] | PLF-Based Incentive (Rs/kWh) | [8 empty] | Additional Cost 1 (Rs/kWh) | [8 empty] | Additional Cost 2 (Rs/kWh) | [8 empty] | Total Incentives and other costs (Rs Crs) | [8 empty] | Total Cost (Rs Crs) Fixed Cost + Total Variable Cost + Other Costs | [8 empty] | Total Cost (Rs/kWh) Fixed Cost + Total Variable Cost + Other Costs
|  |  | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 |  | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 |  | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | Escalation (%) | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | Escalation | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 |  | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY14 | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22
NTTPS-I | Coal | U1-1/11/1979 U2-10/10/1980 | 159.894 | 159.894 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 80% | 80.62% | 95.02% | 75.97% | 69.8% | 84.8% | 84.8% | 84.8% | 84.8% | 84.8% | 80% | 73.77% | 86.95% | 69.51% | 80% | 50% | 80% | 50% | 80% | 80% | 2500 | [9 empty] | 1033.2278 | 1217.8513 | 1179.2538 | 1357.1833 | 848.2396 | 1357.1833 | 848.2396 | 1357.1833 | 1357.1833 | 3822.619 | 4635.1953 | 3432.6261 | 5206.6659 | 5345.2235 | 2% | 3822.619 | 4635.1953 | 3432.6261 | 5206.6659 | 5345.2235 | 5452.1279 | 5561.1705 | 5672.3939 | 5785.8418 | 61.1214 | 74.114 | 66.4769 | 100.8333 | 103.5167 | 105.587 | 107.6987 | 109.8527 | 112.0498 | 61.1214 | 74.114 | 63.1275 | 87.9714 | 103.5167 | 105.587 | 107.6987 | 109.8527 | 112.0498 | 0.59156 | 0.60856 | 0.53532 | 0.64819 | 1.2204 | 0.77799 | 1.2697 | 0.80942 | 0.82561 | 2.7764 | 2.6986 | 1.4711 | 3.2 | 2.59 | 4% | 2.7764 | 2.6986 | 1.4711 | 3.2 | 2.59 | 2.6936 | 2.8013 | 2.9134 | 3.0299 | 286.8637 | 328.6447 | 173.4776 | 434.2985 | 219.6941 | 365.571 | 237.6212 | 395.4016 | 411.2177 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.7764 | 2.6986 | 1.4711 | 3.2 | 2.59 | 2.6936 | 2.8013 | 2.9134 | 3.0299 | 286.8637 | 328.6447 | 173.4776 | 434.2985 | 219.6941 | 365.571 | 237.6212 | 395.4016 | 411.2177 | 0 | 2.4329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 2.4329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 347.9851 | 405.1915 | 236.6051 | 522.2699 | 323.2108 | 471.158 | 345.3199 | 505.2544 | 523.2675 | 3.3679 | 3.3271 | 2.0064 | 3.8482 | 3.8104 | 3.4716 | 4.071 | 3.7228 | 3.8555
NTTPS-II | Coal | U3-5/10/1989 U4-23/08/1990 | 159.894 | 159.894 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 80% | 80.62% | 95.02% | 76% | 69.8% | 84.8% | 84.8% | 84.8% | 84.8% | 84.8% | 80% | 73.77% | 86.95% | 69.54% | 80% | 50% | 80% | 50% | 80% | 80% | 2500 | [9 empty] | 1033.2278 | 1217.8513 | 1179.7017 | 1357.1833 | 848.2396 | 1357.1833 | 848.2396 | 1357.1833 | 1357.1833 | 3822.619 | 4635.1953 | 3432.6261 | 5206.6659 | 5345.2235 | 2% | 3822.619 | 4635.1953 | 3432.6261 | 5206.6659 | 5345.2235 | 5452.1279 | 5561.1705 | 5672.3939 | 5785.8418 | 61.1214 | 74.114 | 66.4769 | 100.8333 | 103.5167 | 105.587 | 107.6987 | 109.8527 | 112.0498 | 61.1214 | 74.114 | 63.1515 | 87.9714 | 103.5167 | 105.587 | 107.6987 | 109.8527 | 112.0498 | 0.59156 | 0.60856 | 0.53532 | 0.64819 | 1.2204 | 0.77799 | 1.2697 | 0.80942 | 0.82561 | 2.7764 | 2.6986 | 3.2102 | 3.2 | 2.59 | 4% | 2.7764 | 2.6986 | 3.2102 | 3.2 | 2.59 | 2.6936 | 2.8013 | 2.9134 | 3.0299 | 286.8637 | 328.6447 | 378.7055 | 434.2985 | 219.6941 | 365.571 | 237.6212 | 395.4016 | 411.2177 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.7764 | 2.6986 | 3.2102 | 3.2 | 2.59 | 2.6936 | 2.8013 | 2.9134 | 3.0299 | 286.8637 | 328.6447 | 378.7055 | 434.2985 | 219.6941 | 365.571 | 237.6212 | 395.4016 | 411.2177 | 0 | 2.4329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 2.4329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 347.9851 | 405.1915 | 441.857 | 522.2699 | 323.2108 | 471.158 | 345.3199 | 505.2544 | 523.2675 | 3.3679 | 3.3271 | 3.7455 | 3.8482 | 3.8104 | 3.4716 | 4.071 | 3.7228 | 3.8555
NTTPS-III | Coal | U5-31/03/1994 U6-24/02/1995 | 159.894 | 159.894 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 80% | 80.62% | 94.16% | 75.99% | 69.8% | 84.8% | 84.8% | 84.8% | 84.8% | 84.8% | 80% | 73.77% | 86.15% | 69.53% | 80% | 50% | 80% | 50% | 80% | 80% | 2500 | [9 empty] | 1033.2278 | 1206.7131 | 1179.6343 | 1357.1833 | 848.2396 | 1357.1833 | 848.2396 | 1357.1833 | 1357.1833 | 3822.619 | 4635.1953 | 3432.6261 | 5206.6659 | 5345.2235 | 2% | 3822.619 | 4635.1953 | 3432.6261 | 5206.6659 | 5345.2235 | 5452.1279 | 5561.1705 | 5672.3939 | 5785.8418 | 61.1214 | 74.114 | 66.4769 | 100.8333 | 103.5167 | 105.587 | 107.6987 | 109.8527 | 112.0498 | 61.1214 | 74.114 | 63.1479 | 87.9714 | 103.5167 | 105.587 | 107.6987 | 109.8527 | 112.0498 | 0.59156 | 0.61418 | 0.53532 | 0.64819 | 1.2204 | 0.77799 | 1.2697 | 0.80942 | 0.82561 | 2.7764 | 2.6645 | 3.2104 | 3.2 | 2.59 | 4% | 2.7764 | 2.6645 | 3.2104 | 3.2 | 2.59 | 2.6936 | 2.8013 | 2.9134 | 3.0299 | 286.8637 | 321.5229 | 378.7055 | 434.2985 | 219.6941 | 365.571 | 237.6212 | 395.4016 | 411.2177 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.7764 | 2.6645 | 3.2104 | 3.2 | 2.59 | 2.6936 | 2.8013 | 2.9134 | 3.0299 | 286.8637 | 321.5229 | 378.7055 | 434.2985 | 219.6941 | 365.571 | 237.6212 | 395.4016 | 411.2177 | 0 | 2.1544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 2.1544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 347.9851 | 397.7913 | 441.8533 | 522.2699 | 323.2108 | 471.158 | 345.3199 | 505.2544 | 523.2675 | 3.3679 | 3.2965 | 3.7457 | 3.8482 | 3.8104 | 3.4716 | 4.071 | 3.7228 | 3.8555
NTTPS-IV | Coal | 28.1.2010 | 190.35 | 190.35 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 80% | 89.81% | 100.7% | 67.9% | 78.34% | 87% | 87% | 87% | 87% | 87% | 80% | 82.18% | 92.18% | 62.13% | 80% | 50% | 80% | 50% | 80% | 80% | 2500 | [9 empty] | 1370.2942 | 1537 | 1254.7928 | 1615.6944 | 1009.809 | 1615.6944 | 1009.809 | 1615.6944 | 1615.6944 | 10068.6 | 11611.2465 | 9513.1347 | 9418.3474 | 9132.943 | 5% | 10068.6 | 11611.2465 | 9513.1347 | 9418.3474 | 9132.943 | 9589.5901 | 10069.0696 | 10572.5231 | 11101.1493 | 191.6558 | 221.0201 | 219.3253 | 217.14 | 210.56 | 221.088 | 232.1424 | 243.7495 | 255.937 | 191.6558 | 221.0201 | 186.1575 | 212.6387 | 210.56 | 221.088 | 232.1424 | 243.7495 | 255.937 | 1.3986 | 1.438 | 1.4836 | 1.3161 | 2.0851 | 1.3684 | 2.2989 | 1.5086 | 1.5841 | 3.0305 | 2.5941 | 2.9886 | 3.0088 | 2.34 | 4% | 3.0305 | 2.5941 | 2.9886 | 3.0088 | 2.34 | 2.4336 | 2.531 | 2.6322 | 2.7375 | 415.2679 | 398.7091 | 375.0027 | 486.132 | 236.2982 | 393.2002 | 255.5801 | 425.2853 | 442.2967 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 3.0305 | 2.5941 | 2.9886 | 3.0088 | 2.34 | 2.4336 | 2.531 | 2.6322 | 2.7375 | 415.2679 | 398.7091 | 375.0027 | 486.132 | 236.2982 | 393.2002 | 255.5801 | 425.2853 | 442.2967 | 0.90804 | 5.0757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0066266 | 0.033023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0.90804 | 5.0757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 607.8318 | 624.8049 | 561.1602 | 698.7707 | 446.8582 | 614.2882 | 487.7225 | 669.0348 | 698.2337 | 4.4358 | 4.0651 | 4.4721 | 4.3249 | 4.4252 | 3.802 | 4.8298 | 4.1409 | 4.3216
Rayalaseema-I | Coal | U1- 31.3.1994 U2-25.2.1995 | 159.894 | 159.894 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 80% | 68.56% | 84.46% | 68.98% | 67.51% | 85.83% | 85.83% | 85.83% | 85.83% | 85.83% | 80% | 62.73% | 77.28% | 63.11% | 55% | 50% | 50% | 50% | 50% | 80% | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 878.6354 | 1082.483 | 1070.7159 | 933.0635 | 848.2396 | 848.2396 | 848.2396 | 848.2396 | 1357.1833 | 5279.5238 | 6485.6436 | 5310.7344 | 6373.7336 | 6462.29 | 2% | 5279.5238 | 6485.6436 | 5310.7344 | 6373.7336 | 6462.29 | 6591.5358 | 6723.3665 | 6857.8338 | 6994.9905 | 84.4164 | 103.7016 | 102.8487 | 123.435 | 125.15 | 127.653 | 130.2061 | 132.8102 | 135.4664 | 72.3416 | 103.7016 | 88.6775 | 104.1573 | 125.15 | 127.653 | 130.2061 | 132.8102 | 135.4664 | 0.82334 | 0.958 | 0.82821 | 1.1163 | 1.4754 | 1.5049 | 1.535 | 1.5657 | 0.99814 | 3.3208 | 3.618 | 3.417 | 3.79 | 3.05 | 4% | 3.3208 | 3.618 | 3.417 | 3.79 | 3.05 | 3.172 | 3.2989 | 3.4308 | 3.568 | 291.7736 | 391.643 | 365.8669 | 353.6311 | 258.7112 | 269.0596 | 279.822 | 291.0149 | 484.2488 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 3.3208 | 3.618 | 3.417 | 3.79 | 3.05 | 3.172 | 3.2989 | 3.4308 | 3.568 | 291.7736 | 391.643 | 365.8669 | 353.6311 | 258.7112 | 269.0596 | 279.822 | 291.0149 | 484.2488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 364.1153 | 495.3446 | 454.5444 | 457.7884 | 383.8612 | 396.7126 | 410.0281 | 423.8251 | 619.7152 | 4.1441 | 4.576 | 4.2452 | 4.9063 | 4.5254 | 4.6769 | 4.8339 | 4.9965 | 4.5662
Rayalaseema-II | Coal | U1- 12.8.2007 U2-29.3.2008 | 159.894 | 159.894 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 193.662 | 80% | 81.87% | 94.93% | 75.8% | 66.31% | 82.15% | 82.15% | 82.15% | 82.15% | 82.15% | 80% | 74.91% | 86.86% | 69.36% | 80% | 50% | 50% | 50% | 50% | 80% | 2500 | [9 empty] | 1049.2865 | 1216.5833 | 1176.6166 | 1357.1833 | 848.2396 | 848.2396 | 848.2396 | 848.2396 | 1357.1833 | 9704.0476 | 11438.9413 | 9841.528 | 10118.9185 | 9865.6422 | 5% | 9704.0476 | 11438.9413 | 9841.528 | 10118.9185 | 9865.6422 | 10358.9243 | 10876.8705 | 11420.7141 | 11991.7498 | 155.1619 | 182.9018 | 190.593 | 195.965 | 191.06 | 200.613 | 210.6437 | 221.1758 | 232.2346 | 155.1619 | 182.9018 | 180.5853 | 162.4414 | 191.06 | 200.613 | 210.6437 | 221.1758 | 232.2346 | 1.4787 | 1.5034 | 1.5348 | 1.1969 | 2.2524 | 2.3651 | 2.4833 | 2.6075 | 1.7112 | 3.3208 | 3.2909 | 3.263 | 3.79 | 3.05 | 4% | 3.3208 | 3.2909 | 3.263 | 3.79 | 3.05 | 3.172 | 3.2989 | 3.4308 | 3.5681 | 348.4427 | 400.3634 | 383.9257 | 514.3725 | 258.7128 | 269.0613 | 279.8238 | 291.0167 | 484.2518 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 3.3208 | 3.2909 | 3.263 | 3.79 | 3.05 | 3.172 | 3.2989 | 3.4308 | 3.5681 | 348.4427 | 400.3634 | 383.9257 | 514.3725 | 258.7128 | 269.0613 | 279.8238 | 291.0167 | 484.2518 | 0 | 2.4012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019737 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 2.4012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 503.6046 | 585.6663 | 564.5109 | 676.8139 | 449.7728 | 469.6743 | 490.4674 | 512.1926 | 716.4865 | 4.7995 | 4.814 | 4.7977 | 4.9869 | 5.3024 | 5.537 | 5.7822 | 6.0383 | 5.2792
Rayalaseema-III | Coal | 10.2.2011 | 79.947 | 79.947 | 96.831 | 96.831 | 96.831 | 96.831 | 96.831 | 96.831 | 96.831 | 80% | 76.22% | 89.09% | 71.73% | 69.79% | 85.83% | 85.83% | 85.83% | 85.83% | 85.83% | 80% | 69.74% | 81.51% | 65.63% | 80% | 50% | 50% | 50% | 50% | 80% | 2500 | [9 empty] | 488.4393 | 570.8691 | 556.7392 | 678.5916 | 424.1198 | 424.1198 | 424.1198 | 424.1198 | 678.5916 | 14720.9524 | 16357.0092 | 11754.5599 | 13564.3544 | 13185.8599 | 5% | 14720.9524 | 16357.0092 | 11754.5599 | 13564.3544 | 13185.8599 | 13845.1529 | 14537.4105 | 15264.2811 | 16027.4951 | 117.6896 | 130.7694 | 113.8206 | 131.345 | 127.68 | 134.064 | 140.7672 | 147.8056 | 155.1958 | 112.1324 | 130.7694 | 102.057 | 114.59 | 127.68 | 134.064 | 140.7672 | 147.8056 | 155.1958 | 2.2957 | 2.2907 | 1.8331 | 1.6886 | 3.0105 | 3.161 | 3.319 | 3.485 | 2.287 | 3.3208 | 3.3323 | 3.3132 | 3.79 | 3.05 | 4% | 3.3208 | 3.3323 | 3.3132 | 3.79 | 3.05 | 3.172 | 3.2989 | 3.4308 | 3.568 | 162.1989 | 190.2282 | 184.4608 | 257.1862 | 129.3555 | 134.5297 | 139.9109 | 145.5073 | 242.1242 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 3.3208 | 3.3323 | 3.3132 | 3.79 | 3.05 | 3.172 | 3.2989 | 3.4308 | 3.568 | 162.1989 | 190.2282 | 184.4608 | 257.1862 | 129.3555 | 134.5297 | 139.9109 | 145.5073 | 242.1242 | 0 | 0.26501 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0046423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0.26501 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 274.3314 | 321.2626 | 286.5178 | 371.7763 | 257.0355 | 268.5937 | 280.6781 | 293.3129 | 397.32 | 5.6165 | 5.6276 | 5.1464 | 5.4786 | 6.0604 | 6.333 | 6.6179 | 6.9158 | 5.8551
Rayalaseema-IV | Coal | 2017-10-01 | 0 | 0 | 0 | 0 | 600 | 600 | 600 | 600 | 600 | 80% | 0% | 0% | 0% | 0% | 40.33% | 85% | 85% | 85% | 85% | 80% | 0% | 0% | 0% | 0% | 50% | 50% | 50% | 50% | 65% | 2450 | [9 empty] | 0 | 0 | 0 | 0 | 2628 | 2628 | 2628 | 2628 | 3416.4 | 0 | 0 | 0 | 0 | 5785 | 5% | 0 | 0 | 0 | 0 | 5785 | 6074.25 | 6377.9625 | 6696.8606 | 7031.7037 | 0 | 0 | 0 | 0 | 347.1 | 364.455 | 382.6778 | 401.8116 | 421.9022 | 0 | 0 | 0 | 0 | 174.9659 | 364.455 | 382.6778 | 401.8116 | 421.9022 | 0 | 0 | 0 | 0 | 0.66578 | 1.3868 | 1.4562 | 1.529 | 1.2349 | 0 | 0 | 0 | 0 | 3.0505 | 4% | 0 | 0 | 0 | 0 | 3.0505 | 3.1725 | 3.2994 | 3.4314 | 3.5686 | 0 | 0 | 0 | 0 | 801.668 | 833.7347 | 867.0841 | 901.7675 | 1219.1896 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0505 | 3.1725 | 3.2994 | 3.4314 | 3.5686 | 0 | 0 | 0 | 0 | 801.668 | 833.7347 | 867.0841 | 901.7675 | 1219.1896 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 976.6339 | 1198.1897 | 1249.7619 | 1303.5791 | 1641.0918 | 0 | 0 | 0 | 0 | 3.7163 | 4.5593 | 4.7556 | 4.9603 | 4.8036
Sanjeevaiah I | Coal | 2014-03-01 | 0 | 304.56 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 80% | 0% | 40% | 43.64% | 70.41% | 78.21% | 78.21% | 78.21% | 78.21% | 78.21% | 80% | 0% | 36.93% | 39.93% | 39.93% | 80% | 80% | 80% | 80% | 80% | 2450 | [9 empty] | 0 | 985.3194 | 2798.354 | 2798.354 | 5606.4 | 5606.4 | 5606.4 | 5606.4 | 5606.4 | 0 | 0 | 0 | 3878.784 | 8075 | 5% | 0 | 0 | 0 | 3878.784 | 8075 | 8478.75 | 8902.6875 | 9347.8219 | 9815.213 | 0 | 0 | 0 | 310.3027 | 646 | 678.3 | 712.215 | 747.8257 | 785.217 | 0 | 0 | 0 | 273.0943 | 631.5476 | 663.125 | 696.2812 | 731.0953 | 767.65 | 0 | 0 | 0 | 0.97591 | 1.1265 | 1.1828 | 1.2419 | 1.304 | 1.3692 | 0 | 5.4116 | 7.4605 | 3.0094 | 2.17 | 4% | 0 | 5.4116 | 7.4605 | 3.0094 | 2.17 | 2.2568 | 2.3471 | 2.441 | 2.5386 | 0 | 533.2108 | 2087.7119 | 842.1434 | 1216.5888 | 1265.2524 | 1315.8624 | 1368.4969 | 1423.2368 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 5.4116 | 7.4605 | 3.0094 | 2.17 | 2.2568 | 2.3471 | 2.441 | 2.5386 | 0 | 533.2108 | 2087.7119 | 842.1434 | 1216.5888 | 1265.2524 | 1315.8624 | 1368.4969 | 1423.2368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 533.2108 | 2087.7119 | 1115.2376 | 1848.1364 | 1928.3773 | 2012.1437 | 2099.5922 | 2190.8869 | 0 | 5.4116 | 7.4605 | 3.9853 | 3.2965 | 3.4396 | 3.589 | 3.745 | 3.9078
Sanjeevaiah II | Coal | 2014-12-01 | 0 | 0 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 80% | 0% | 0% | 28.17% | 73.02% | 78.21% | 78.21% | 78.21% | 78.21% | 78.21% | 80% | 0% | 0% | 25.78% | 25.78% | 80% | 80% | 80% | 80% | 80% | 2450 | [9 empty] | 0 | 0 | 1806.5985 | 1806.5985 | 5606.4 | 5606.4 | 5606.4 | 5606.4 | 5606.4 | 0 | 0 | 0 | 3878.784 | 7345 | 5% | 0 | 0 | 0 | 3878.784 | 7345 | 7712.25 | 8097.8625 | 8502.7556 | 8927.8934 | 0 | 0 | 0 | 310.3027 | 587.6 | 616.98 | 647.829 | 680.2205 | 714.2315 | 0 | 0 | 0 | 283.2287 | 574.4541 | 603.1768 | 633.3357 | 665.0024 | 698.2526 | 0 | 0 | 0 | 1.5677 | 1.0246 | 1.0759 | 1.1297 | 1.1861 | 1.2455 | 0 | 0 | 8.3067 | 2.9017 | 2.17 | 4% | 0 | 0 | 8.3067 | 2.9017 | 2.17 | 2.2568 | 2.3471 | 2.441 | 2.5386 | 0 | 0 | 1500.6945 | 524.2281 | 1216.5888 | 1265.2524 | 1315.8624 | 1368.4969 | 1423.2368 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.3067 | 2.9017 | 2.17 | 2.2568 | 2.3471 | 2.441 | 2.5386 | 0 | 0 | 1500.6945 | 524.2281 | 1216.5888 | 1265.2524 | 1315.8624 | 1368.4969 | 1423.2368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1500.6945 | 807.4568 | 1791.0429 | 1868.4292 | 1949.1981 | 2033.4994 | 2121.4894 | 0 | 0 | 8.3067 | 4.4695 | 3.1946 | 3.3327 | 3.4767 | 3.6271 | 3.784
Kothagudem-A | Coal | U1- 4/7/1966 U2- 27/11/1966 U3- 27/5/1967 U4-8/7/1967 | 91.368 | 91.368 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 80% | 65.92% | 79.18% | 69.02% | 80.48% | 79.29% | 79.29% | 79.29% | 79.29% | 79.29% | 80% | 60.32% | 72.45% | 63.15% | 63.15% | 0% | 0% | 0% | 0% | 0% | 2500 | [9 empty] | 482.7523 | 579.8757 | 612.1954 | 612.1954 | 0 | 0 | 0 | 0 | 0 | 5045 | 6081.0211 | 4512.317 | 4593.1829 | 6427.5645 | 2% | 5045 | 6081.0211 | 4512.317 | 4593.1829 | 6427.5645 | 6556.1158 | 6687.2381 | 6820.9829 | 6957.4025 | 46.0952 | 55.5611 | 49.9351 | 50.83 | 71.13 | 72.5526 | 74.0037 | 75.4837 | 76.9934 | 37.9813 | 54.9916 | 43.0799 | 50.83 | 70.4965 | 71.9065 | 73.3446 | 74.8115 | 76.3077 | 0.78677 | 0.94833 | 0.70369 | 0.83029 | 0 | 0 | 0 | 0 | 0 | 2.4617 | 2.4254 | 2.4763 | 1.9377 | 2.73 | 4% | 2.4617 | 2.4254 | 2.4763 | 1.9377 | 2.73 | 2.8392 | 2.9528 | 3.0709 | 3.1937 | 118.8392 | 140.6419 | 151.5952 | 118.6266 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.4617 | 2.4254 | 2.4763 | 1.9377 | 2.73 | 2.8392 | 2.9528 | 3.0709 | 3.1937 | 118.8392 | 140.6419 | 151.5952 | 118.6266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156.8205 | 195.6335 | 194.6751 | 169.4566 | 70.4965 | 71.9065 | 73.3446 | 74.8115 | 76.3077 | 3.2485 | 3.3737 | 3.18 | 2.768 | 0 | 0 | 0 | 0 | 0
Kothagudem-B | Coal | U5- 13/8/1974 U6- 19/12/1974 | 91.368 | 91.368 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 80% | 65.92% | 80.29% | 68.77% | 80.48% | 79.29% | 79.29% | 79.29% | 79.29% | 79.29% | 80% | 60.32% | 73.46% | 62.93% | 62.93% | 0% | 0% | 0% | 0% | 0% | 2500 | [9 empty] | 482.7523 | 587.9731 | 610.0351 | 610.0351 | 0 | 0 | 0 | 0 | 0 | 5045 | 6081.0211 | 4512.317 | 4593.1829 | 6427.5645 | 2% | 5045 | 6081.0211 | 4512.317 | 4593.1829 | 6427.5645 | 6556.1158 | 6687.2381 | 6820.9829 | 6957.4025 | 46.0952 | 55.5611 | 49.9351 | 50.83 | 71.13 | 72.5526 | 74.0037 | 75.4837 | 76.9934 | 37.9813 | 55.5611 | 42.9279 | 50.83 | 70.4965 | 71.9065 | 73.3446 | 74.8115 | 76.3077 | 0.78677 | 0.94496 | 0.70369 | 0.83323 | 0 | 0 | 0 | 0 | 0 | 2.4617 | 2.4695 | 2.4799 | 1.9377 | 2.73 | 4% | 2.4617 | 2.4695 | 2.4799 | 1.9377 | 2.73 | 2.8392 | 2.9528 | 3.0709 | 3.1937 | 118.8392 | 145.2007 | 151.2826 | 118.208 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.4617 | 2.4695 | 2.4799 | 1.9377 | 2.73 | 2.8392 | 2.9528 | 3.0709 | 3.1937 | 118.8392 | 145.2007 | 151.2826 | 118.208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156.8205 | 200.7618 | 194.2105 | 169.038 | 70.4965 | 71.9065 | 73.3446 | 74.8115 | 76.3077 | 3.2485 | 3.4145 | 3.1836 | 2.771 | 0 | 0 | 0 | 0 | 0
Kothagudem-C | Coal | U7- 10/3/1977 U8- 10/1/1978 | 91.368 | 91.368 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 110.664 | 80% | 65.92% | 78.08% | 70.47% | 80.48% | 79.29% | 79.29% | 79.29% | 79.29% | 79.29% | 80% | 60.32% | 71.45% | 64.48% | 64.48% | 0% | 0% | 0% | 0% | 0% | 2500 | [9 empty] | 482.7523 | 571.8513 | 625.0877 | 625.0877 | 0 | 0 | 0 | 0 | 0 | 5045 | 6081.0211 | 4512.317 | 4593.1829 | 6427.5645 | 2% | 5045 | 6081.0211 | 4512.317 | 4593.1829 | 6427.5645 | 6556.1158 | 6687.2381 | 6820.9829 | 6957.4025 | 46.0952 | 55.5611 | 49.9351 | 50.83 | 71.13 | 72.5526 | 74.0037 | 75.4837 | 76.9934 | 37.9813 | 54.2306 | 43.9871 | 50.83 | 70.4965 | 71.9065 | 73.3446 | 74.8115 | 76.3077 | 0.78677 | 0.94833 | 0.70369 | 0.81317 | 0 | 0 | 0 | 0 | 0 | 2.4617 | 2.3841 | 2.4396 | 1.9377 | 2.73 | 4% | 2.4617 | 2.3841 | 2.4396 | 1.9377 | 2.73 | 2.8392 | 2.9528 | 3.0709 | 3.1937 | 118.8392 | 136.3346 | 152.4975 | 121.1248 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.4617 | 2.3841 | 2.4396 | 1.9377 | 2.73 | 2.8392 | 2.9528 | 3.0709 | 3.1937 | 118.8392 | 136.3346 | 152.4975 | 121.1248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156.8205 | 190.5652 | 196.4846 | 171.9548 | 70.4965 | 71.9065 | 73.3446 | 74.8115 | 76.3077 | 3.2485 | 3.3324 | 3.1433 | 2.7509 | 0 | 0 | 0 | 0 | 0
Kothagudem-V | Coal | U9- 27/3/1997 U10-28/2/1998 | 190.35 | 190.35 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 80% | 80.86% | 75.95% | 82.19% | 28.76% | 87.67% | 87.67% | 87.67% | 87.67% | 87.67% | 80% | 43.28% | 28.84% | 75.21% | 75.21% | 0% | 0% | 0% | 0% | 0% | 2500 | [9 empty] | 721.7066 | 480.9305 | 1518.9222 | 1518.9222 | 0 | 0 | 0 | 0 | 0 | 2561.8397 | 5721.2627 | 4061.2451 | 1416.5611 | 4543.483 | 2% | 2561.8397 | 5721.2627 | 4061.2451 | 1416.5611 | 4543.483 | 4634.3526 | 4727.0397 | 4821.5805 | 4918.0121 | 48.7646 | 108.9042 | 93.632 | 32.6588 | 104.75 | 106.845 | 108.9819 | 111.1615 | 113.3848 | 48.7646 | 103.3915 | 93.632 | 11.739 | 104.75 | 106.845 | 108.9819 | 111.1615 | 113.3848 | 0.67568 | 2.1498 | 0.61644 | 0.077285 | 0 | 0 | 0 | 0 | 0 | 1.9596 | 5.6895 | 2.0352 | 1.9626 | 2.02 | 4% | 1.9596 | 5.6895 | 2.0352 | 1.9626 | 2.02 | 2.1008 | 2.1849 | 2.2723 | 2.3631 | 141.4251 | 273.6241 | 309.1239 | 298.0984 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1.9596 | 5.6895 | 2.0352 | 1.9626 | 2.02 | 2.1008 | 2.1849 | 2.2723 | 2.3631 | 141.4251 | 273.6241 | 309.1239 | 298.0984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190.1897 | 377.0156 | 402.7559 | 309.8373 | 104.75 | 106.845 | 108.9819 | 111.1615 | 113.3848 | 2.6353 | 7.8393 | 2.6516 | 2.0398 | 0 | 0 | 0 | 0 | 0
Kothagudem-VI | Coal | U11- 23/10/2011 | 190.35 | 190.35 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 80% | 80.81% | 95.74% | 92.6% | 86.82% | 87.24% | 87.24% | 87.24% | 87.24% | 87.24% | 80% | 73.94% | 87.61% | 84.73% | 84.73% | 0% | 0% | 0% | 0% | 0% | 2450 | [9 empty] | 1232.9119 | 1460.7859 | 1711.1382 | 1711.1382 | 0 | 0 | 0 | 0 | 0 | 8506.282 | 13612.0953 | 11579.9387 | 6756.5455 | 10930.3839 | 5% | 8506.282 | 13612.0953 | 11579.9387 | 6756.5455 | 10930.3839 | 11476.9031 | 12050.7482 | 12653.2856 | 13285.9499 | 161.9171 | 259.1062 | 266.9755 | 155.7722 | 252 | 264.6 | 277.83 | 291.7215 | 306.3076 | 161.9171 | 259.1062 | 266.9755 | 155.7722 | 252 | 264.6 | 277.83 | 291.7215 | 306.3076 | 1.3133 | 1.7737 | 1.5602 | 0.91034 | 0 | 0 | 0 | 0 | 0 | 2.38 | 3.0262 | 2.5648 | 2.1934 | 2.02 | 4% | 2.38 | 3.0262 | 2.5648 | 2.1934 | 2.02 | 2.1008 | 2.1848 | 2.2722 | 2.3631 | 293.4286 | 442.0637 | 438.8727 | 375.3131 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.38 | 3.0262 | 2.5648 | 2.1934 | 2.02 | 2.1008 | 2.1848 | 2.2722 | 2.3631 | 293.4286 | 442.0637 | 438.8727 | 375.3131 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1703 | 2.3861 | 2.3861 | 0 | 0 | 0 | 0 | 0 | 0 | 0.021703 | 0.013944 | 0.013944 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 3.1703 | 2.3861 | 2.3861 | 0 | 0 | 0 | 0 | 0 | 455.3456 | 704.3403 | 708.2343 | 533.4714 | 252 | 264.6 | 277.83 | 291.7215 | 306.3076 | 3.6933 | 4.8217 | 4.139 | 3.1176 | 0 | 0 | 0 | 0 | 0
Ramagundam-B | Coal | 17.10.1971 | 23.7938 | 23.7938 | 28.8188 | 28.8188 | 29.0493 | 29.0493 | 29.0493 | 29.0493 | 29.0493 | 80% | 79.99% | 38.97% | 68.23% | 85.62% | 81.07% | 81.07% | 81.07% | 81.07% | 81.07% | 80% | 73.19% | 35.66% | 62.43% | 50% | 0% | 0% | 0% | 0% | 0% | 2500 | [9 empty] | 152.5525 | 74.326 | 157.6146 | 126.2261 | 0 | 0 | 0 | 0 | 0 | 8440 | 9278.6262 | 6228.0094 | 6339.6226 | 8130.1236 | 2% | 8440 | 9278.6262 | 6228.0094 | 6339.6226 | 8130.1236 | 8292.7261 | 8458.5806 | 8627.7522 | 8800.3073 | 20.0819 | 22.0773 | 17.9483 | 18.27 | 23.6174 | 24.0898 | 24.5716 | 25.063 | 25.5643 | 20.0792 | 10.755 | 15.3084 | 18.27 | 23.6174 | 24.0898 | 24.5716 | 25.063 | 25.5643 | 1.3162 | 1.447 | 0.97126 | 1.4474 | 0 | 0 | 0 | 0 | 0 | 2.4548 | 5.2856 | 2.6206 | 3.1 | 3.0997 | 4% | 2.4548 | 5.2856 | 2.6206 | 3.1 | 3.0997 | 3.2236 | 3.3526 | 3.4867 | 3.6262 | 37.449 | 39.2858 | 41.3052 | 39.1301 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.4548 | 5.2856 | 2.6206 | 3.1 | 3.0997 | 3.2236 | 3.3526 | 3.4867 | 3.6262 | 37.449 | 39.2858 | 41.3052 | 39.1301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.5282 | 50.0408 | 56.6136 | 57.4001 | 23.6174 | 24.0898 | 24.5716 | 25.063 | 25.5643 | 3.771 | 6.7326 | 3.5919 | 4.5474 | 0 | 0 | 0 | 0 | 0
Kakatiya-I | Coal | 12.10.2010 | 190.35 | 190.35 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 230.55 | 80% | 73.32% | 113% | 86.96% | 38.18% | 86% | 86% | 86% | 86% | 86% | 80% | 67.08% | 103.4% | 79.57% | 79.57% | 0% | 0% | 0% | 0% | 0% | 2450 | [9 empty] | 1118.6001 | 1723.7562 | 1606.9927 | 1606.9927 | 0 | 0 | 0 | 0 | 0 | 13240.6 | 14679.7282 | 11622.1235 | 4574.7051 | 10923.4439 | 5% | 13240.6 | 14679.7282 | 11622.1235 | 4574.7051 | 10923.4439 | 11469.6161 | 12043.0969 | 12645.2518 | 13277.5144 | 252.0348 | 279.4286 | 267.9481 | 105.4698 | 251.84 | 264.432 | 277.6536 | 291.5363 | 306.1131 | 230.9762 | 279.4286 | 267.9481 | 50.3383 | 251.84 | 264.432 | 277.6536 | 291.5363 | 306.1131 | 2.0649 | 1.621 | 1.6674 | 0.31325 | 0 | 0 | 0 | 0 | 0 | 2.101 | 2.0101 | 2.3996 | 2.5447 | 2.12 | 4% | 2.101 | 2.0101 | 2.3996 | 2.5447 | 2.12 | 2.2048 | 2.293 | 2.3847 | 2.4801 | 235.0131 | 346.4854 | 385.6113 | 408.9305 | 0 | 0 | 0 | 0 | 0 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2.101 | 2.0101 | 2.3996 | 2.5447 | 2.12 | 2.2048 | 2.293 | 2.3847 | 2.4801 | 235.0131 | 346.4854 | 385.6113 | 408.9305 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 9.7446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 465.9893 | 635.6586 | 653.5593 | 459.2689 | 251.84 | 264.432 | 277.6536 | 291.5363 | 306.1131 | 4.1658 | 3.6876 | 4.067 | 2.8579 | 0 | 0 | 0 | 0 | 0
Sanjeeviah III (800 MW) | Coal | Estimated 2018-19, assuming COD April 1, 2019 | [6 empty] | 800 | 800 | 800 | 80% | [5 empty] | 85% | 85% | 85% | 85% | 80% | 0% | 0% | 0% | 0% | 80% | 80% | 80% | 80% | 80% | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5606.4 | 5606.4 | 5606.4 |  |  |  |  | 7345 | 5% | 0 | 0 | 0 | 0 | 7345 | 7712.25 | 8097.8625 | 8502.7556 | 8927.8934 | 0 | 0 | 0 | 0 | 0 | 0 | 647.829 | 680.2205 | 714.2315 | 0 | 0 | 0 | 0 | 0 | 0 | 647.829 | 680.2205 | 714.2315 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1555 | 1.2133 | 1.274 |  |  |  |  | 2.17 | 4% | 0 | 0 | 0 | 0 | 2.17 | 2.2568 | 2.3471 | 2.441 | 2.5386 | 0 | 0 | 0 | 0 | 0 | 0 | 1315.8624 | 1368.4969 | 1423.2368 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.17 | 2.2568 | 2.3471 | 2.441 | 2.5386 | 0 | 0 | 0 | 0 | 0 | 0 | 1315.8624 | 1368.4969 | 1423.2368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1963.6914 | 2048.7174 | 2137.4683 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5026 | 3.6542 | 3.8126
VTPS V (800 MW) | Coal | Estimated 2018-19, assuming COD April 1, 2019 | [6 empty] | 800 | 800 | 800 | 80% | [5 empty] | 85% | 85% | 85% | 85% | 80% | 0% | 0% | 0% | 0% | 80% | 80% | 50% | 80% | 80% | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 3504 | 5606.4 | 5606.4 |  |  |  |  | 9133 | 5% | 0 | 0 | 0 | 0 | 9133 | 9589.65 | 10069.1325 | 10572.5891 | 11101.2186 | 0 | 0 | 0 | 0 | 0 | 0 | 805.5306 | 845.8071 | 888.0975 | 0 | 0 | 0 | 0 | 0 | 0 | 805.5306 | 845.8071 | 888.0975 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2989 | 1.5086 | 1.5841 |  |  |  |  | 2.34 | 4% | 0 | 0 | 0 | 0 | 2.34 | 2.4336 | 2.531 | 2.6322 | 2.7375 | 0 | 0 | 0 | 0 | 0 | 0 | 886.8536 | 1475.7243 | 1534.7533 | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.34 | 2.4336 | 2.531 | 2.6322 | 2.7375 | 0 | 0 | 0 | 0 | 0 | 0 | 886.8536 | 1475.7243 | 1534.7533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1692.3842 | 2321.5315 | 2422.8508 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8299 | 4.1409 | 4.3216
Section 11.1.3
Note on X1: Net PLF = Gross PLF *(1-Aux) where Gross PLF = Net Generation(GWh)/(Capacity(MW) * (1-Aux)*8.76) as reported by DISCOMs and assuming Auxiliary Consumption is as per norm
Note on AQ1: Gross Generation * (1-Auxiliary Consumption)